Part 10 Other plans

10.1 Development schemes for priority development areas

10.1.1 Preliminary

[Table 10.1.1](#table1021) identifies other plans being development schemes for priority development areas under the [Economic Development Act 2012](https://www.legislation.qld.gov.au/Acts_SLs/Acts_SL_E.htm).

Table 10.1.1—Development schemes for priority development areas

|  |  |
| --- | --- |
| Priority development area | Development scheme |
| Bowen Hills urban development area | Bowen Hills UDA Development Scheme |
| Fitzgibbon urban development area | Fitzgibbon UDA Development Scheme |
| Northshore Hamilton urban development area | Northshore Hamilton UDA Development Scheme |
| Woolloongabba urban development area | Woolloongabba UDA Development Scheme |
| Queen’s Wharf Brisbane priority development area | Queen’s Wharf Brisbane PDA Development Scheme |
| Herston Quarter priority development area | Herston Quarter PDA Development Scheme |
| Oxley priority development area | Oxley PDA Development Scheme  |
| Yeronga priority development area | Yeronga PDA Development Scheme |
| Albert Street Cross River Rail priority development area | Albert Street Cross River Rail PDA Interim Land Use Plan |

Note—The Queensland Children's Hospital State Development Area is a defined area created under the State Development and Public Works Organisation Act 1971 and is identified on the [State Planning Policy Interactive Mapping System](http://www.dilgp.qld.gov.au/planning/state-planning-instruments/spp-interactive-mapping-system.html).

10.2 South Bank Corporation Area Approved Development Plan

10.2.1 Preliminary

[Table 10.2.1](#table1021) identifies other plans being the South Bank Corporation Area Approved Development Plan for the corporation area under the [South Bank Corporation Act 1989](https://www.legislation.qld.gov.au/Acts_SLs/Acts_SL_S.htm).

Table 10.2.1—South Bank Corporation Area Approved Development Plan for the corporation area

|  |  |
| --- | --- |
| Corporation area | Development scheme |
| Corporation area | South Bank Corporation Area Approved Development Plan |

10.3 Long term infrastructure plans

Editor's note—A condition which requires a proposed development to keep permanent improvements and structures associated with the approved development clear of the area of long term infrastructure, may be imposed.

Editor's note—For property enquiries relating to long term infrastructure contact Council via the Pre-lodgement advice service.

10.3.1 Community purposes network

[Table 10.3.1A](#table1031A) identifies other plans being Long term infrastructure plans for the parks network for development which is not assumed future urban development.

Table 10.3.1A—Long term infrastructure plans for the parks network

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Suburb | Project description | Location | Park sub-type | Area of land (ha) | LTIP identifier on Community purposes network overlay map | Applicable neighbourhood plan |
| Anstead | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Hawkesbury Road Park (No.222A) D1993 and Hawkesbury Road Park (No.356A) D1609. Part take on LOTPLAN: 1RP27583, 2RP106950 and 2RP27584. | Metropolitan | 1.60 | ANS-P1 | N/A |
| Anstead | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Hawkesbury Road Park (No.356A) D1609 and Anstead Bushland Reserve D0709. Part take on LOTPLAN: 20SP163684, 25SP163684, 2RP216251 and 2RP64458.  | Metropolitan | 3.10 | ANS-P2 | N/A |
| Anstead | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Anstead Bushland Reserve D0709 and Mount Crosby Road Park D3116. Part take on LOTPLAN: 2RP129971. | Metropolitan | 2.00 | ANS-P3 | N/A |
| Bellbowrie | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Lather Road Park D1229 and Booker Place Park D0663. Part take on LOTPLAN: 10RP813589, 11RP813589, 12SP140013, 17RP813588, 18RP813588, 19RP813587, 1RP87678, 20RP813587, 21SP140013, 22SP113558, 23SP113558, 24SP113558, 25SP113558, 2RP87678, 3RP87678, 4RP87678, 5RP87678 and 6RP87678. | Metropolitan | 5.40 | BWE-P1 | N/A |
| Bulimba | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Riverfront land (10m from Brisbane River MHWS) part take on LOTPLAN: 3RP826285 | District | 0.04 | BUL-P1 | N/A |
| Chandler | Acquire and embellish land to provide METROPOLITAN SPORT infrastructure | Acquire land at 1350, 1360 & 1370 New Cleveland Road and 100, 101, 110, 111, 120, 130, 140 & 142 Sunnydene Road, LOTPLAN: 1RP842921, 1RP818947, 2RP818947, 3RP818947, 1RP110225, 1RP76607, 2RP76607, 1RP92521, 2RP92521 and 3RP92521. | Metropolitan | 20.00 | CND-P1 | N/A |
| Carina | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Part take of southern end of 145 & 147 Fursden Road, consolidating Charlotte Street Park D2056 and Kate Street Park D2057 and connecting through to Bethel Street. Part take on LOTPLAN: 1RP84509 and 2RP84509.  | Local | 0.50 | CAR-P1 | N/A |
| Carindale | Acquire and embellish land to provide URBAN COMMON infrastructure | Located within northern end of Westfield Carindale site. Part take on LOTPLAN: 2RP909241 | Urban Common | 0.30 | CDL-P1 | N/A |
| Chermside | Acquire and embellish to provide URBAN COMMON infrastructure | Associated with future busway node | Metropolitan | 0.3 | N/A | Chermside Centre Neighbourhood Plan |
| Corinda | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Fort Road Bushland D2176 and Blackheath Road Park D0314. Part take on LOTPLAN: 10RP29775 and 9RP29775. | Metropolitan | 0.70 | COR-P1 | N/A |
| Corinda | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Riverfront land (40m from Brisbane River MHWS). LOTPLAN: 900SP277477. | Metropolitan | 1.00 | COR-P2 | N/A |
| Ellen Grove | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Land east of Bagnall Street and west of Lovat Street. Part take on LOTPLAN: 62RP90235, 63RP90235, 70RP90235, 71RP90235. | Local | 1.00 | ELG-P1 | N/A |
| Ferny Grove | Acquire and embellish land to provide LOCAL ACCESS/RECREATION CORRIDOR PARK | Land along Cedar Creek corridor between Nelson Place Park D3052 and Keperra Picnic Ground Park D0631. Part take on LOTPLAN: 106SP259861 and 43RP167933. | Local | 3.50 | FGR-P1 | N/A |
| Ferny Grove  | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Land south of McGinn Road - north of Upper Kedron Road. Part take on LOTPLAN: 106SP259861. | Local | 1.00 | FGR-P2 | N/A |
| Fig Tree Pocket | Acquire and embellish land to provide LOCAL ACCESS/RECREATION CORRIDOR PARK | Land connection between Sprenger Street and Terrigal Street road reserve. Part take on LOTPLAN: 119S31101 and 120S31101. | Local | 0.40 | FTP-P1 | N/A |
| Fig Tree Pocket | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Lone Pine Park D2593 and Cubberla Street Park D1344. Part take on LOTPLAN: 1RP103660, 1RP59583 and 2RP103660. | Metropolitan | 1.20 | FTP-P2 | N/A |
| Fig Tree Pocket | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Spinkbrae Street Park D0258 and Kenmore Road Park D1027. Part take on LOTPLAN: 3RP76414 and 4RP76414. | Metropolitan | 0.30 | FTP-P3 | N/A |
| Fig Tree Pocket | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Kenmore Road Park D1027 and Mactier Street Park D1323. 3RP82038, 4RP73987, 4RP82038, 5RP75052, 5RP82038, 6RP82038 and 7RP76466. | Metropolitan | 2.30 | FTP-P4 | N/A |
| Fig Tree Pocket | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Ormsby Street Park D0688 and Lone Pine Park D2593. Part take on LOTPLAN: 1RP101396, 2RP101396, 138S31111, 139S31111, 140S31111 and 141S31111. | Metropolitan | 2.80 | FTP-P5 | N/A |
| Fortitude Valley | Acquire and embellish land to provide URBAN COMMON infrastructure | In block bounded by Constance, Ann, Bridge and Wickham Streets. Part take on LOTPLAN: 10RP9670, 1RP157793, 1RP9670, 20SP198740, 23RP9688, 32RP163081, 3RP9663, 4RP9664, 5RP9665, 6RP212003, 6RP40920, 7RP9689, 8RP9668, 8RP9689 and 9RP9669. | Urban Common | 0.30 | FVA-P1 | N/A |
| Hemmant | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Bulimba Creek corridor between Gross Avenue Park D0872 and Fleming Road Park (No. 241) D2140. Part take on LOTPLAN: 2RP902234. | District | 0.55 | HEM-P1 | N/A |
| Holland Park West | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Land adjoining Roseglen Street Park (No. 30) D1447 and Roseglen Street Park (No. 34) D0395. Part take on LOTPLAN: 987RP866304. | Local | 2.00 | HPW-P1 | N/A |
| Indooroopilly | Acquire and embellish to provide URBAN COMMON infrastructure | Land adjoining keating house and/or road reserve along Coonan Street and Station Road | Urban Common | 0.1 | N/A | Indooroopilly Centre Neighbourhood Plan |
| Kangaroo Point | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Riverfront land (4.5m from Brisbane River MHWS) part take on LOTPLAN: 0BUP5806. | District | 0.01 | KAN-P1 | N/A |
| Kangaroo Point | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Riverfront land (4.5m from Brisbane River MHWS) part take on LOTPLAN: 1RP10951 and 0BUP5204. | District | 0.01 | KAN-P2 | N/A |
| Kangaroo Point | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Riverfront land (4.5m from Brisbane River MHWS) part take on LOTPLAN: 10RP135198; 1SP116789, 2SP116789, 3SP116789, 0BUP100822 and 100RP96906. | District | 0.07 | KAN-P3 | N/A |
| Manly West | Acquire and embellish to provide LOCAL RECREATION infrastructure | Land in Emerging Community area between Manly Road and Manly Road Park (No.338) D2013 | Local | 0.5 | N/A | Wynnum-Manly Neighbourhood Plan |
| McDowall | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Land in Emerging Community area adjoining western boundary of Laurina Crescent Park D2038. Part take on LOTPLAN: 27RP94671. | Local | 0.50 | MDW-P1 | N/A |
| Mitchelton | Acquire and embellish land to provide DISTRICT RECREATION infrastructure | 76 Kooya Rd (north-east corner). Part take on LOTPLAN: 1RP152610. | District | 4.5 | MIT-P4 | N/A |
| Mitchelton | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Kedron Brook between Oxford Grove Park D0151 and Chessom Street Park D2036 - part take on LOTPLAN: 3RP89975, 1RP163403 and 4RP180498 | District | 1.40 | MIT-P1 | N/A |
| Mitchelton | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Kedron Brook between Chessom Street Park D2036 and St Helens Road Park (No.100) D1669 - part take on LOTPLAN: 17RP88248 and 18RP88248. | District | 1.19 | MIT-P2 | N/A |
| Mitchelton | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Kedron Brook between St Helens Road Park (No.100) D1669 and Lansvale Street Park D0667 - part take on LOTPLAN: 1RP18816, 2RP18816, 4RP18816, 5RP18816, 6RP18816, 320RP18816, 14RP18831, 15RP18831, 17RP197666, 6RP70396, 2RP68760 and 1SP149702. | District | 5.16 | MIT-P3 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Booker Place Park D0663 and Ellerby Road Park D0833. Part take on LOTPLAN: 10RP92198, 11RP92198, 12RP92198, 1RP206168, 1RP75411, 2RP75411, 3RP92198, 4RP92198, 5RP92198, 6RP206168, 6RP92198 and 7RP92198. | Metropolitan | 5.40 | MOG-P1 | N/A |
| Moggill | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Within future development of 108, 120 & 126 Weekes Road. Part take on LOTPLAN: 3RP108155, 1RP206168 and 6 RP206168. | Local | 0.50 | MOG-P2 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Ellerby Road Park D0833 and Stratford Street Park D0270. Part take on LOTPLAN 6SP248379. | Metropolitan | 0.40 | MOG-P3 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Stratford Street Park D0270 and Priors Pocket Road Park (No.300A) D1747. Part take on LOTPLAN: 2RP863635. | Metropolitan | 0.60 | MOG-P4 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Priors Pocket Road Park (No.300A) D1747 and Priors Pocket Road Park (No.530) D1959. Part take on LOTPLAN: 15RP27561, 16RP27561, 17RP27561, 18RP27561 and 19RP27561. | Metropolitan | 3.00 | MOG-P5 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Priors Pocket Road Park (No.545) D1958 and Priors Pocket Road Park (No.301) D1774. Part take on LOTPLAN: 5RP27561, 6RP27561 and 7RP27561. | Metropolitan | 1.60 | MOG-P6 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Priors Pocket Road Park (No.301) D1774 and Priors Pocket Road Park (No.169) D1972. Part take on LOTPLAN: 1RP27561. | Metropolitan | 0.60 | MOG-P7 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Priors Pocket Road Park (No.169) D1972 and Mercury Street Park D2492. Part take on LOTPLAN: 134S3141, 136S3141, 138S3141, 139S3141, 1RP115616, 1RP69567, 234S3141, 2RP115616 and 2RP69567. | Metropolitan | 6.50 | MOG-P8 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Mercury Street Park D2492 and Aitcheson Street Park D0757. Part take on LOTPLAN: 3RP883775, 4RP54883 and 95M3137. | Metropolitan | 2.70 | MOG-P9 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Moggill Ferry Reserve D0271 and Aitcheson Street Park (No.101) D1280. Part take on LOTPLAN: 1RP139872, 1RP841757, 2RP51530, 7RP182828, 8RP182828, 9RP182828. | Metropolitan | 3.30 | MOG-P10 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Aitcheson Street Park (No.101) D1280 and Myora Street Park D1568. Part take on LOTPLAN: 99M3137. | Metropolitan | 0.70 | MOG-P11 | N/A |
| Moggill | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along river between Myora Street Park D1568 and Hawkesbury Road Park (No.222A) D1993. Part take on LOTPLAN: 2RP142518. | Metropolitan | 0.70 | MOG-P12 | N/A |
| Nundah | Acquire and embellish land to provide URBAN COMMON infrastructure | On Centro Toombul Shoppingtown Site. Part take on LOTPLAN: 1RP202924. | Urban Common | 0.30 | NUN-P1 | N/A |
| Pinjarra Hills | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Brisbane River between John Wilson Reserve D1918 and Houston Street road reserve, approximately 50m wide. Part take on LOTPLAN: 39S151826.  | Metropolitan | 1.86 | PIH-P1 | N/A |
| Rochedale | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Part take of property L.2 RP135209 | Local | 0.7 | ROC-P1 | N/A |
| Runcorn | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Bulimba Creek corridor connecting separate sections of Wally Tate Park D0685. Part take on LOTPLAN: 42SP211392. | District | 4.00 | RUN-P1 | N/A |
| Taigum | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Cabbage Tree Creek corridor between Taigum Place Park D1308 and Roghan Road Park (No.335) D1995. Part take on LOTPLAN: 2RP26210, 2SP102980 and 2SP102981. | District | 1.00 | TAI-P1 | N/A |
| Taringa | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Railway land adjoining the Taringa Station - Part take on LOTPLAN: 33SP129991, 1A Princess St. | Local | 0.07 | TAR-P1 | N/A |
| Taringa | Acquire and embellish land to provide URBAN COMMON infrastructure | Land to be acquired from planned part-closure of road reserve on the corner of Moggill Road and Morrow Street. | Urban Common | 0.10 | TAR-P2 | N/A |
| The Gap | Acquire and embellish land to provide DISTRICT OR METRO ACCESS/RECREATION CORRIDOR PARK | Land along Enoggera Creek corridor between Payne Road Park (No. 507) D1640 and Allamanda Street Park D1155. Part take on LOTPLAN: 1RP91282, 2RP91282 and 3RP91282. | District | 0.30 | GAP-P1 | N/A |
| Tingalpa | Acquire and embellish land to provide LOCAL ACCESS/RECREATION CORRIDOR PARK | Land connecting Kooringal Street Park D1847 through to Manly Road. Part take on LOTPLAN: 3RP33348. | Local | 1.98 | TIN-P1 | N/A |
| Upper Kedron | Acquire and embellish land to provide LOCAL RECREATION infrastructure | Part take of property L.2 SP.151113 PAR and located within 750m walking distance of residential development | Local | 0.5 | UKE-P1 | N/A |
| Wynnum West | Acquire and embellish land to provide LOCAL RECREATION infrastructure | South East portion of 107 Crawford Road adjoining Balnave Street Park D1011 and providing significant frontage to future Templar Street extension. Part take on LOTPLAN 15RP33310. | Local | 0.30 | WYW-P1 | N/A |

[Table 10.3.1B](#table1031B) identifies other plans being Long term infrastructure plans for the land for the community facilities network for development which is not assumed future urban development.

Table 10.3.1B—Long term infrastructure plans for the land for the community facilities network

| Suburb/s | Project description | Location | Area of land (hectares) | LTIP identifier on Community purposes network overlay map  | Applicable neighbourhood plan |
| --- | --- | --- | --- | --- | --- |
| Bardon, Ashgrove, The Gap | Land acquisition, basic site preparation and connection to services to provide DISTRICT COMMUNITY HUB | Bardon, Ashgrove and the Gap  | 1.6 | N/A | Ithaca District Neighbourhood Plan |
| Inala | Land acquisition, basic site preparation and connection to services to provide DISTRICT INTEGRATED FACILITY | Inala | 1.2 | N/A | Western Gateway Neighbourhood Plan |
| Indooroopilly | Land acquisition, basic site preparation and connection to services to provide PRINCIPAL COMMUNITY HUB | Indooroopilly Centre Neighbourhood Plan area | 1.2 | N/A | Indooroopilly Centre Neighbourhood Plan |
| Lutwyche | Land acquisition, basic site preparation and connection to services to provide DISTRICT COMMUNITY HUB | Lot 50 SP263291, 612 Lutwyche Road Lutwyche  | 0.30 | LUT-CF-001 | N/A |
| South Brisbane | Land acquisition, basic site preparation and connection to services to provide PRINCIPAL INDOOR SPORT CENTRE | South Brisbane Riverside Neighbourhood Plan area | 1.2 | N/A | South Brisbane Riverside Neighbourhood Plan area |
| South Brisbane | Land acquisition, basic site preparation and connection to services to provide DISTRICT COMMUNITY ARTS CENTRE | South Brisbane Riverside Neighbourhood Plan area | 0.4 | N/A | South Brisbane Riverside Neighbourhood Plan area |

10.3.2 Stormwater network

[Table 10.3.2](#table1032) identifies other plans being long term infrastructure plans for the stormwater network for development which is not assumed future urban development.

Table 10.3.2—Long term infrastructure plans for the stormwater network

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Suburb/s | Project description | Diameter (mm) | Length (m) | LTIP identifier on the maps for long term infrastructure for the stormwater network | Applicable Service catchment |
| Algester | Culvert | 900 | 55 | AGR-SW1 | Calamvale |
| Albion | Pipe | 1,200 | 24 | ALB-SW1 | Breakfast Creek |
| Albion | Pipe | 1,950 | 9 | ALB-SW2 | Breakfast Creek |
| Albion | Pipe | 2,700 | 5 | ALB-SW3 | Breakfast Creek |
| Albion | Pipe | 1,050 | 62 | ALB-SW4 | Breakfast Creek |
| Albion | Pipe | 1,050 | 8 | ALB-SW5 | Breakfast Creek |
| Albion | Pipe | 1,200 | 50 | ALB-SW6 | Breakfast Creek |
| Albion | Pipe | 2,400 | 8 | ALB-SW7 | Breakfast Creek |
| Albion | Pipe | 1,500 | 99 | ALB-SW8 | Breakfast Creek |
| Albion | Pipe | 1,050 | 21 | ALB-SW9 | Breakfast Creek |
| Albion | Pipe | 1,800 | 29 | ALB-SW10 | Breakfast Creek |
| Albion | Pipe | 1,500 | 50 | ALB-SW11 | Breakfast Creek |
| Albion | Pipe | 2,700 | 8 | ALB-SW12 | Breakfast Creek |
| Albion | Pipe | 2,700 | 181 | ALB-SW13 | Breakfast Creek |
| Albion | Pipe | 1,050 | 53 | ALB-SW14 | Breakfast Creek |
| Albion | Pipe | 2,700 | 80 | ALB-SW15 | Breakfast Creek |
| Albion | Pipe | 1,350 | 17 | ALB-SW16 | Breakfast Creek |
| Albion | Pipe | 2,700 | 45 | ALB-SW17 | Breakfast Creek |
| Albion | Pipe | 1,200 | 28 | ALB-SW18 | Breakfast Creek |
| Albion | Pipe | 1,800 | 9 | ALB-SW19 | Breakfast Creek |
| Albion, Windsor | Pipe | 1,350 | 19 | ALB-SW20 | Breakfast Creek |
| Albion | Pipe | 1,050 | 73 | ALB-SW21 | Breakfast Creek |
| Albion | Pipe | 1,050 | 23 | ALB-SW22 | Breakfast Creek |
| Albion | Pipe | 1,200 | 16 | ALB-SW23 | Breakfast Creek |
| Albion | Pipe | 1,950 | 52 | ALB-SW24 | Breakfast Creek |
| Albion | Pipe | 1,200 | 10 | ALB-SW25 | Breakfast Creek |
| Albion | Pipe | 1,200 | 96 | ALB-SW26 | Breakfast Creek |
| Albion, Hamilton | Pipe | 1,200 | 62 | ALB-SW27 | Albion |
| Albion | Pipe | 1,650 | 59 | ALB-SW28 | Albion |
| Albion | Pipe | 1,650 | 78 | ALB-SW29 | Albion |
| Albion | Pipe | 1,650 | 110 | ALB-SW30 | Albion |
| Albion | Pipe | 1,650 | 21 | ALB-SW31 | Albion |
| Albion | Pipe | 1,650 | 78 | ALB-SW32 | Albion |
| Albion, Hamilton | Pipe | 1,350 | 42 | ALB-SW33 | Albion |
| Albion | Pipe | 1,650 | 74 | ALB-SW34 | Albion |
| Albion | SQID | - | - | ALB-SW35 | Albion |
| Albion | SQID | - | - | ALB-SW36 | Albion |
| Albion | SQID | - | - | ALB-SW37 | Albion |
| Albion | SQID | - | - | ALB-SW38 | Albion |
| Alderley | Pipe | 1,050 | 13 | ALD-SW1 | Kedron Brook |
| Alderley | Pipe | 1,050 | 37 | ALD-SW2 | Kedron Brook |
| Alderley | Pipe | 1,050 | 19 | ALD-SW3 | Kedron Brook |
| Alderley | Pipe | 1,050 | 75 | ALD-SW4 | Kedron Brook |
| Alderley | Pipe | 1,050 | 27 | ALD-SW5 | Kedron Brook |
| Alderley | Pipe | 1,200 | 65 | ALD-SW6 | Kedron Brook |
| Alderley | Pipe | 1,200 | 17 | ALD-SW7 | Kedron Brook |
| Alderley | Pipe | 1,200 | 47 | ALD-SW8 | Kedron Brook |
| Alderley | Pipe | 1,800 | 42 | ALD-SW9 | Kedron Brook |
| Alderley | Pipe | 1,800 | 21 | ALD-SW10 | Kedron Brook |
| Alderley | Pipe | 1,800 | 30 | ALD-SW11 | Kedron Brook |
| Alderley | Pipe | 1,800 | 41 | ALD-SW12 | Kedron Brook |
| Alderley | Pipe | 1,800 | 45 | ALD-SW13 | Kedron Brook |
| Alderley | Pipe | 1,800 | 32 | ALD-SW14 | Kedron Brook |
| Alderley | Pipe | 1,800 | 40 | ALD-SW15 | Kedron Brook |
| Alderley, Enoggera | Pipe | 2,100 | 56 | ALD-SW16 | Kedron Brook |
| Alderley | Pipe | 2,100 | 59 | ALD-SW17 | Kedron Brook |
| Alderley | Pipe | 2,100 | 40 | ALD-SW18 | Kedron Brook |
| Alderley | Pipe | 1,650 | 18 | ALD-SW19 | Breakfast Creek |
| Alderley | Pipe | 1,650 | 63 | ALD-SW20 | Breakfast Creek |
| Alderley | Pipe | 1,650 | 64 | ALD-SW21 | Breakfast Creek |
| Alderley | Pipe | 1,650 | 136 | ALD-SW22 | Breakfast Creek |
| Alderley | Rehabilitation | - | 20 | ALD-SW23 | Kedron Brook |
| Aspley | Pipe | 900 | 46 | ASP-SW1 | Cabbage Tree Creek |
| Aspley | Pipe | 900 | 68 | ASP-SW2 | Cabbage Tree Creek |
| Auchenflower, Milton | Pipe | 2,700 | 94 | AUC-SW1 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,050 | 42 | AUC-SW2 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,500 | 48 | AUC-SW3 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,650 | 26 | AUC-SW4 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,650 | 19 | AUC-SW5 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,650 | 37 | AUC-SW6 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,500 | 23 | AUC-SW7 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,500 | 33 | AUC-SW8 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,650 | 32 | AUC-SW9 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,650 | 30 | AUC-SW10 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 16 | AUC-SW11 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 27 | AUC-SW12 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 12 | AUC-SW13 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 20 | AUC-SW14 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 54 | AUC-SW15 | Western Creeks LSMPS |
| Auchenflower, Milton | Pipe | 1,950 | 219 | AUC-SW16 | Western Creeks LSMPS |
| Auchenflower | Pipe | 2,100 | 59 | AUC-SW17 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,950 | 136 | AUC-SW18 | Western Creeks LSMPS |
| Auchenflower, Toowong | Pipe | 1,950 | 61 | AUC-SW19 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,650 | 88 | AUC-SW20 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,350 | 31 | AUC-SW21 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 113 | AUC-SW22 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 52 | AUC-SW23 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 17 | AUC-SW24 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 100 | AUC-SW25 | Western Creeks LSMPS |
| Auchenflower | Pipe | 2,400 | 66 | AUC-SW26 | Western Creeks LSMPS |
| Auchenflower | Pipe | 2,400 | 53 | AUC-SW27 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,050 | 48 | AUC-SW28 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,050 | 44 | AUC-SW29 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,050 | 34 | AUC-SW30 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,200 | 107 | AUC-SW31 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,950 | 13 | AUC-SW32 | Western Creeks LSMPS |
| Auchenflower | Pipe | 2,100 | 90 | AUC-SW33 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 42 | AUC-SW34 | Western Creeks LSMPS |
| Auchenflower | Pipe | 1,800 | 37 | AUC-SW35 | Western Creeks LSMPS |
| Balmoral | Pipe | 1,500 | 2 | BAL-SW1 | ATC South (a) |
| Boondall | Rehabilitation | - | 500 | BDL-SW1 | Nundah Downfall Creek |
| Bowen Hills | Pipe | 1,800 | 39 | BOH-SW1 | INES |
| Bowen Hills | Pipe | 1,200 | 42 | BOH-SW2 | INES |
| Bowen Hills | Pipe | 1,200 | 78 | BOH-SW3 | INES |
| Bowen Hills | Pipe | 1,050 | 14 | BOH-SW4 | INES |
| Bowen Hills | Pipe | 1,050 | 5 | BOH-SW5 | INES |
| Bowen Hills | Pipe | 1,200 | 2 | BOH-SW6 | INES |
| Bowen Hills | Pipe | 1,200 | 15 | BOH-SW7 | INES |
| Bowen Hills | Pipe | 1,050 | 25 | BOH-SW8 | INES |
| Bowen Hills | Pipe | 1,650 | 14 | BOH-SW9 | INES |
| Bowen Hills | Pipe | 1,050 | 55 | BOH-SW10 | INES |
| Bowen Hills | Pipe | 1,050 | 15 | BOH-SW11 | INES |
| Bowen Hills | Pipe | 1,950 | 12 | BOH-SW12 | INES |
| Bowen Hills | Pipe | 1,200 | 88 | BOH-SW13 | INES |
| Bowen Hills | Pipe | 1,200 | 9 | BOH-SW14 | INES |
| Bowen Hills | Pipe | 1,050 | 16 | BOH-SW15 | INES |
| Bowen Hills | Pipe | 1,650 | 16 | BOH-SW16 | INES |
| Bowen Hills | Pipe | 1,200 | 139 | BOH-SW17 | INES |
| Bowen Hills | Pipe | 2,100 | 132 | BOH-SW18 | INES |
| Bridgeman Downs | Natural Channel | - | 280 | BRD-SW1 | Cabbage Tree Creek |
| Bellbowrie | Pipe | 1,050 | 73 | BWE-SW1 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,950 | 51 | BWE-SW2 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 80 | BWE-SW3 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 43 | BWE-SW4 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 76 | BWE-SW5 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,950 | 130 | BWE-SW6 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 86 | BWE-SW7 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,950 | 143 | BWE-SW8 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 83 | BWE-SW9 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,950 | 50 | BWE-SW10 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,950 | 13 | BWE-SW11 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,350 | 53 | BWE-SW12 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 51 | BWE-SW13 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 22 | BWE-SW14 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 24 | BWE-SW15 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 30 | BWE-SW16 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 78 | BWE-SW17 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 20 | BWE-SW18 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 41 | BWE-SW19 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 47 | BWE-SW20 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 30 | BWE-SW21 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 8 | BWE-SW22 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 35 | BWE-SW23 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 43 | BWE-SW24 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 45 | BWE-SW25 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 48 | BWE-SW26 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 45 | BWE-SW27 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 43 | BWE-SW28 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,350 | 15 | BWE-SW29 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,350 | 57 | BWE-SW30 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 65 | BWE-SW31 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,800 | 98 | BWE-SW32 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 99 | BWE-SW33 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 19 | BWE-SW34 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 70 | BWE-SW35 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 23 | BWE-SW36 | BBnePrec1 |
| Bellbowrie | Pipe | 1,350 | 31 | BWE-SW37 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 45 | BWE-SW38 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 37 | BWE-SW39 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 21 | BWE-SW40 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 44 | BWE-SW41 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,350 | 48 | BWE-SW42 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 11 | BWE-SW43 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 66 | BWE-SW44 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 76 | BWE-SW45 | BBnePrec1 |
| Bellbowrie | Pipe | 1,800 | 80 | BWE-SW46 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 81 | BWE-SW47 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 24 | BWE-SW48 | BBnePrec1 |
| Bellbowrie | Pipe | 1,800 | 67 | BWE-SW49 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 52 | BWE-SW50 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,800 | 67 | BWE-SW51 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 5 | BWE-SW52 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 58 | BWE-SW53 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 46 | BWE-SW54 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 88 | BWE-SW55 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 71 | BWE-SW56 | BBnePrec1 |
| Bellbowrie | Pipe | 1,350 | 12 | BWE-SW57 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,800 | 71 | BWE-SW58 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 53 | BWE-SW59 | BBnePrec1 |
| Bellbowrie | Pipe | 1,800 | 85 | BWE-SW60 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 26 | BWE-SW61 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 15 | BWE-SW62 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,500 | 24 | BWE-SW63 | BBnePrec1 |
| Bellbowrie | Pipe | 1,800 | 106 | BWE-SW64 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,200 | 50 | BWE-SW65 | BBnePrec1 |
| Bellbowrie | Pipe | 1,500 | 89 | BWE-SW66 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 76 | BWE-SW67 | BBnePrec1 |
| Bellbowrie | Pipe | 1,350 | 26 | BWE-SW68 | BBnePrec1 |
| Bellbowrie | Pipe | 1,800 | 52 | BWE-SW69 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,350 | 19 | BWE-SW70 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 51 | BWE-SW71 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 30 | BWE-SW72 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,350 | 36 | BWE-SW73 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,350 | 25 | BWE-SW74 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 86 | BWE-SW75 | BBnePrec1 |
| Bellbowrie | Pipe | 1,200 | 48 | BWE-SW76 | BBnePrec1 |
| Bellbowrie | Pipe | 1,800 | 53 | BWE-SW77 | BBnePrec1 |
| Bellbowrie | Pipe | 1,350 | 75 | BWE-SW78 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,950 | 80 | BWE-SW79 | Pullen Pullen Creek |
| Bellbowrie | Pipe | 1,050 | 29 | BWE-SW80 | BBnePrec1 |
| Bellbowrie | Pipe | 1,050 | 100 | BWE-SW81 | Pullen Pullen Creek |
| Bellbowrie, Anstead | Pipe | 1,050 | 147 | BWE-SW82 | Pullen Pullen Creek |
| Camp Hill, Carina | Pipe | 1,050 | 62 | CAH-SW1 | Bulimba Creek |
| Camp Hill | Pipe | 1,500 | 98 | CAH-SW2 | Perrin |
| Camp Hill | Pipe | 1,050 | 14 | CAH-SW3 | Bulimba Creek |
| Camp Hill | Pipe | 1,500 | 106 | CAH-SW4 | Bulimba Creek |
| Camp Hill | Pipe | 1,200 | 36 | CAH-SW5 | Bulimba Creek |
| Camp Hill | Pipe | 1,050 | 74 | CAH-SW6 | Bulimba Creek |
| Camp Hill | Pipe | 1,500 | 39 | CAH-SW7 | Perrin |
| Camp Hill | Pipe | 1,050 | 64 | CAH-SW8 | Bulimba Creek |
| Camp Hill | Pipe | 1,050 | 25 | CAH-SW9 | Bulimba Creek |
| Camp Hill | Pipe | 1,050 | 14 | CAH-SW10 | Norman Creek |
| Camp Hill | Pipe | 1,650 | 80 | CAH-SW11 | Norman Creek |
| Camp Hill | Pipe | 1,650 | 11 | CAH-SW12 | Norman Creek |
| Camp Hill | Pipe | 1,650 | 20 | CAH-SW13 | Norman Creek |
| Camp Hill | Pipe | 1,800 | 78 | CAH-SW14 | Norman Creek |
| Camp Hill | Pipe | 1,800 | 32 | CAH-SW15 | Norman Creek |
| Camp Hill | Pipe | 1,800 | 48 | CAH-SW16 | Norman Creek |
| Camp Hill, Coorparoo | Pipe | 1,800 | 64 | CAH-SW17 | Norman Creek |
| Camp Hill | Pipe | 1,800 | 56 | CAH-SW18 | Norman Creek |
| Carina | Pipe | 1,350 | 31 | CAR-SW1 | Bulimba Creek |
| Carina | Pipe | 2,400 | 19 | CAR-SW2 | Bulimba Creek |
| Carina | Pipe | 2,700 | 27 | CAR-SW3 | Bulimba Creek |
| Carina | Pipe | 2,400 | 69 | CAR-SW4 | Bulimba Creek |
| Carina | Pipe | 1,800 | 13 | CAR-SW5 | Bulimba Creek |
| Carina | Pipe | 1,500 | 38 | CAR-SW6 | Bulimba Creek |
| Carina | Pipe | 1,350 | 103 | CAR-SW7 | Bulimba Creek |
| Carina | Pipe | 1,350 | 86 | CAR-SW8 | Bulimba Creek |
| Carina | Pipe | 1,350 | 7 | CAR-SW9 | Bulimba Creek |
| Carina | Pipe | 2,400 | 98 | CAR-SW10 | Bulimba Creek |
| Carina | Pipe | 1,650 | 22 | CAR-SW11 | Bulimba Creek |
| Carina | Pipe | 2,100 | 8 | CAR-SW12 | Bulimba Creek |
| Carina | Pipe | 1,650 | 6 | CAR-SW13 | Bulimba Creek |
| Carina | Pipe | 1,050 | 83 | CAR-SW14 | Bulimba Creek |
| Carina | Pipe | 1,500 | 81 | CAR-SW15 | Bulimba Creek |
| Carina | Pipe | 2,700 | 70 | CAR-SW16 | Bulimba Creek |
| Carina | Pipe | 1,200 | 70 | CAR-SW17 | Bulimba Creek |
| Carina | Pipe | 1,350 | 74 | CAR-SW18 | Bulimba Creek |
| Carina | Pipe | 1,500 | 33 | CAR-SW19 | Bulimba Creek |
| Carina | Pipe | 1,050 | 2 | CAR-SW20 | Bulimba Creek |
| Carina | Pipe | 1,200 | 10 | CAR-SW21 | Bulimba Creek |
| Carina | Pipe | 1,050 | 152 | CAR-SW22 | Bulimba Creek |
| Carina | Pipe | 1,200 | 20 | CAR-SW23 | Bulimba Creek |
| Carina | Pipe | 2,700 | 14 | CAR-SW24 | Bulimba Creek |
| Carina | Pipe | 1,200 | 28 | CAR-SW25 | Bulimba Creek |
| Carina | Pipe | 1,200 | 16 | CAR-SW26 | Bulimba Creek |
| Carina | Pipe | 1,200 | 13 | CAR-SW27 | Bulimba Creek |
| Carina | Pipe | 1,650 | 12 | CAR-SW28 | Bulimba Creek |
| Carina | Pipe | 1,650 | 86 | CAR-SW29 | Bulimba Creek |
| Carina | Pipe | 1,050 | 97 | CAR-SW30 | Bulimba Creek |
| Carina | Rehabilitation | - | 210 | CAR-SW31 | Bulimba Creek |
| Carindale | Pipe | 1,350 | 25 | CDL-SW1 | Bulimba Creek |
| Carindale, Carina | Pipe | 1,050 | 95 | CDL-SW2 | Bulimba Creek |
| Carindale | Pipe | 1,650 | 25 | CDL-SW3 | Bulimba Creek |
| Carindale | Pipe | 1,200 | 67 | CDL-SW4 | Bulimba Creek |
| Chermside | Culvert | 1,800 | 44 | CHE-SW1 | Nundah Downfall Creek |
| Chermside | Pipe | 1,050 | 14 | CHE-SW2 | Kedron Brook |
| Chermside | Pipe | 1,050 | 11 | CHE-SW3 | Kedron Brook |
| Chermside | Pipe | 1,200 | 13 | CHE-SW4 | Kedron Brook |
| Chermside | Pipe | 1,200 | 7 | CHE-SW5 | Kedron Brook |
| Chermside | Pipe | 1,350 | 11 | CHE-SW6 | Kedron Brook |
| Chermside | Pipe | 1,350 | 51 | CHE-SW7 | Kedron Brook |
| Chermside | Pipe | 1,500 | 21 | CHE-SW8 | Kedron Brook |
| Chermside | Pipe | 1,500 | 12 | CHE-SW9 | Kedron Brook |
| Chermside, Kedron | Pipe | 1,650 | 11 | CHE-SW10 | Kedron Brook |
| Chermside | Pipe | 1,050 | 10 | CHE-SW11 | Nundah Downfall Creek |
| Chermside | Pipe | 1,050 | 72 | CHE-SW12 | Nundah Downfall Creek |
| Chermside | Pipe | 1,050 | 89 | CHE-SW13 | Nundah Downfall Creek |
| Chermside | Pipe | 1,050 | 10 | CHE-SW14 | Nundah Downfall Creek |
| Chermside | Pipe | 1,200 | 73 | CHE-SW15 | Nundah Downfall Creek |
| Chermside | Pipe | 1,200 | 50 | CHE-SW16 | Nundah Downfall Creek |
| Chermside | Pipe | 1,800 | 137 | CHE-SW17 | Nundah Downfall Creek |
| Chermside | Pipe | 1,800 | 373 | CHE-SW18 | Nundah Downfall Creek |
| Chermside | Pipe | 1,800 | 111 | CHE-SW19 | Nundah Downfall Creek |
| Chermside | Pipe | 1,800 | 57 | CHE-SW20 | Nundah Downfall Creek |
| Chermside | Pipe | 1,050 | 65 | CHE-SW21 | Nundah Downfall Creek |
| Chermside | Pipe | 1,200 | 41 | CHE-SW22 | Nundah Downfall Creek |
| Chermside | Pipe | 1,350 | 55 | CHE-SW23 | Nundah Downfall Creek |
| Chermside | SQID | - | 100 | CHE-SW24 | Nundah Downfall Creek |
| Clayfield | Pipe | 1,050 | 66 | CLF-SW1 | Kedron Brook |
| Clayfield | Pipe | 1,350 | 25 | CLF-SW2 | Kedron Brook |
| Clayfield | Pipe | 1,350 | 53 | CLF-SW3 | Kedron Brook |
| Clayfield | Pipe | 1,350 | 28 | CLF-SW4 | Kedron Brook |
| Clayfield | Pipe | 1,350 | 21 | CLF-SW5 | Kedron Brook |
| Clayfield | Pipe | 1,350 | 36 | CLF-SW6 | Kedron Brook |
| Clayfield | Pipe | 1,500 | 61 | CLF-SW7 | Kedron Brook |
| Clayfield | Pipe | 1,500 | 69 | CLF-SW8 | Kedron Brook |
| Cannon Hill | Pipe | 825 | 18 | CLL-SW1 | Perrin |
| Cannon Hill | Pipe | 1,350 | 31 | CLL-SW2 | ATC South (a) |
| Cannon Hill | Pipe | 1,050 | 16 | CLL-SW3 | Perrin |
| Cannon Hill | Pipe | 1,350 | 15 | CLL-SW4 | ATC South (a) |
| Cannon Hill | Pipe | 1,350 | 27 | CLL-SW5 | Perrin |
| Cannon Hill | Pipe | 900 | 123 | CLL-SW6 | Perrin |
| Cannon Hill | Pipe | 2,400 | 65 | CLL-SW7 | Perrin |
| Cannon Hill | Pipe | 1,350 | 38 | CLL-SW8 | ATC South (a) |
| Cannon Hill | Pipe | 1,950 | 28 | CLL-SW9 | Perrin |
| Cannon Hill | Pipe | 900 | 51 | CLL-SW10 | ATC South (a) |
| Cannon Hill | Pipe | 2,100 | 45 | CLL-SW11 | Perrin |
| Cannon Hill | Pipe | 1,050 | 49 | CLL-SW12 | Perrin |
| Cannon Hill | Pipe | 750 | 52 | CLL-SW13 | Perrin |
| Cannon Hill | Pipe | 1,050 | 26 | CLL-SW14 | Perrin |
| Cannon Hill | Pipe | 1,350 | 32 | CLL-SW15 | Perrin |
| Cannon Hill, Morningside | Pipe | 2,700 | 22 | CLL-SW16 | Perrin |
| Cannon Hill | Pipe | 1,350 | 49 | CLL-SW17 | Perrin |
| Cannon Hill, Murarrie | Pipe | 1,200 | 42 | CLL-SW18 | Perrin |
| Cannon Hill | Pipe | 1,350 | 2 | CLL-SW19 | ATC South (a) |
| Cannon Hill | Pipe | 1,050 | 23 | CLL-SW20 | Perrin |
| Cannon Hill | Pipe | 1,350 | 51 | CLL-SW21 | ATC South (a) |
| Cannon Hill | Pipe | 1,200 | 24 | CLL-SW22 | ATC South (a) |
| Cannon Hill | Pipe | 900 | 10 | CLL-SW23 | ATC South (a) |
| Cannon Hill | Pipe | 1,200 | 76 | CLL-SW24 | Perrin |
| Cannon Hill | Pipe | 825 | 35 | CLL-SW25 | ATC South (a) |
| Cannon Hill | Pipe | 2,700 | 9 | CLL-SW26 | Perrin |
| Cannon Hill | Pipe | 1,950 | 22 | CLL-SW27 | Perrin |
| Cannon Hill | Pipe | 1,200 | 24 | CLL-SW28 | Perrin |
| Cannon Hill | Pipe | 825 | 94 | CLL-SW29 | Perrin |
| Cannon Hill | Pipe | 1,350 | 49 | CLL-SW30 | Perrin |
| Cannon Hill | Pipe | 1,050 | 60 | CLL-SW31 | Perrin |
| Cannon Hill | Pipe | 1,050 | 42 | CLL-SW32 | Perrin |
| Cannon Hill | Pipe | 1,050 | 55 | CLL-SW33 | Perrin |
| Cannon Hill | Pipe | 825 | 14 | CLL-SW34 | Perrin |
| Cannon Hill | Pipe | 1,050 | 38 | CLL-SW35 | Perrin |
| Cannon Hill | Pipe | 1,350 | 66 | CLL-SW36 | Perrin |
| Cannon Hill | Pipe | 1,200 | 36 | CLL-SW37 | Perrin |
| Cannon Hill | Pipe | 1,050 | 9 | CLL-SW38 | Perrin |
| Cannon Hill | Pipe | 2,700 | 12 | CLL-SW39 | Perrin |
| Cannon Hill | Pipe | 1,050 | 26 | CLL-SW40 | Perrin |
| Cannon Hill | Pipe | 825 | 59 | CLL-SW41 | Bulimba Creek |
| Cannon Hill, Murarrie | Pipe | 1,650 | 29 | CLL-SW42 | Bulimba Creek |
| Cannon Hill | Pipe | 1,500 | 7 | CLL-SW43 | Bulimba Creek |
| Cannon Hill | Pipe | 1,650 | 31 | CLL-SW44 | Bulimba Creek |
| Cannon Hill | Pipe | 1,650 | 71 | CLL-SW45 | Bulimba Creek |
| Cannon Hill | Pipe | 1,350 | 28 | CLL-SW46 | Bulimba Creek |
| Cannon Hill | Pipe | 1,350 | 18 | CLL-SW47 | Bulimba Creek |
| Cannon Hill | Pipe | 2,400 | 7 | CLL-SW48 | Bulimba Creek |
| Cannon Hill | Pipe | 1,050 | 17 | CLL-SW49 | Bulimba Creek |
| Cannon Hill | Pipe | 2,400 | 68 | CLL-SW50 | Bulimba Creek |
| Cannon Hill | Pipe | 1,500 | 11 | CLL-SW51 | Bulimba Creek |
| Cannon Hill | Pipe | 1,350 | 13 | CLL-SW52 | Bulimba Creek |
| Cannon Hill | Pipe | 1,200 | 70 | CLL-SW53 | Bulimba Creek |
| Cannon Hill | Pipe | 1,050 | 85 | CLL-SW54 | Bulimba Creek |
| Cannon Hill | Pipe | 1,800 | 8 | CLL-SW55 | Bulimba Creek |
| Cannon Hill | Pipe | 1,650 | 24 | CLL-SW56 | Bulimba Creek |
| Cannon Hill | Pipe | 1,350 | 62 | CLL-SW57 | Bulimba Creek |
| Cannon Hill | Pipe | 2,700 | 8 | CLL-SW58 | Perrin |
| Cannon Hill | Pipe | 1,800 | 134 | CLL-SW59 | Perrin |
| Cannon Hill | Pipe | 900 | 44 | CLL-SW60 | Perrin |
| Cannon Hill | Pipe | 1,200 | 26 | CLL-SW61 | Bulimba Creek |
| Cannon Hill | Pipe | 1,200 | 25 | CLL-SW62 | Bulimba Creek |
| Cannon Hill | Pipe | 1,650 | 7 | CLL-SW63 | Bulimba Creek |
| Cannon Hill | Pipe | 1,650 | 21 | CLL-SW64 | Bulimba Creek |
| Cannon Hill | Pipe | 1,650 | 54 | CLL-SW65 | Bulimba Creek |
| Chelmer | Pipe | 825 | 54 | CLR-SW1 | Graceville LSMPS |
| Chelmer | Pipe | 825 | 11 | CLR-SW2 | Graceville LSMPS |
| Chelmer | Pipe | 825 | 48 | CLR-SW3 | Graceville LSMPS |
| Coorparoo | Pipe | 1,050 | 38 | COO-SW1 | Norman Creek |
| Coorparoo | Pipe | 1,050 | 9 | COO-SW2 | Norman Creek |
| Coorparoo | Pipe | 1,050 | 17 | COO-SW3 | Norman Creek |
| Coorparoo | Pipe | 1,050 | 7 | COO-SW4 | Norman Creek |
| Coorparoo | Pipe | 1,050 | 6 | COO-SW5 | Norman Creek |
| Coorparoo | Pipe | 1,050 | 15 | COO-SW6 | Norman Creek |
| Coorparoo | Pipe | 1,350 | 8 | COO-SW7 | Norman Creek |
| Coorparoo | Pipe | 1,350 | 113 | COO-SW8 | Norman Creek |
| Coorparoo | Pipe | 1,350 | 87 | COO-SW9 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 35 | COO-SW10 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 54 | COO-SW11 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 39 | COO-SW12 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 52 | COO-SW13 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 13 | COO-SW14 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 24 | COO-SW15 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 12 | COO-SW16 | Norman Creek |
| Coorparoo | Pipe | 1,500 | 72 | COO-SW17 | Norman Creek |
| Coorparoo | Pipe | 1,650 | 26 | COO-SW18 | Norman Creek |
| Coorparoo | Pipe | 1,650 | 35 | COO-SW19 | Norman Creek |
| Coorparoo | Pipe | 1,800 | 103 | COO-SW20 | Norman Creek |
| Coorparoo | Pipe | 1,800 | 88 | COO-SW21 | Norman Creek |
| Coorparoo, Camp Hill | Pipe | 1,800 | 48 | COO-SW22 | Norman Creek |
| Coorparoo, Camp Hill | Pipe | 1,800 | 52 | COO-SW23 | Norman Creek |
| Coorparoo | Pipe | 1,800 | 57 | COO-SW24 | Norman Creek |
| Coorparoo | Pipe | 2,100 | 32 | COO-SW25 | Norman Creek |
| Coorparoo | Pipe | 2,100 | 27 | COO-SW26 | Norman Creek |
| Coorparoo | Pipe | 2,100 | 102 | COO-SW27 | Norman Creek |
| Coorparoo | Pipe | 2,100 | 50 | COO-SW28 | Norman Creek |
| Coorparoo | Pipe | 2,100 | 53 | COO-SW29 | Norman Creek |
| Coorparoo | Pipe | 2,700 | 46 | COO-SW30 | Norman Creek |
| Coorparoo | Pipe | 2,400 | 54 | COO-SW31 | Norman Creek |
| Coorparoo | Pipe | 2,400 | 18 | COO-SW32 | Norman Creek |
| Coorparoo | Pipe | 2,400 | 44 | COO-SW33 | Norman Creek |
| Carina Heights | Pipe | 1,650 | 32 | CRH-SW1 | Bulimba Creek |
| Carina Heights | Pipe | 1,350 | 26 | CRH-SW2 | Bulimba Creek |
| Carina Heights | Pipe | 1,200 | 11 | CRH-SW3 | Bulimba Creek |
| Carina Heights | Pipe | 1,200 | 4 | CRH-SW4 | Bulimba Creek |
| Carina Heights | Pipe | 1,050 | 18 | CRH-SW5 | Bulimba Creek |
| Darra, Richlands | Culvert | 2,100 | 28 | DAR-SW1 | Richlands (a) |
| Darra, Seventeen Mile Rocks | Pipe | 1,050 | 37 | DAR-SW2 | Farm |
| Darra | Pipe | 2,700 | 38 | DAR-SW3 | Farm |
| Darra | Pipe | 2,700 | 32 | DAR-SW4 | Farm |
| Darra | Pipe | 1,950 | 68 | DAR-SW5 | Wolston |
| Darra | Pipe | 1,200 | 94 | DAR-SW6 | Richlands (b) |
| Darra | Pipe | 1,050 | 11 | DAR-SW7 | Farm |
| Darra | Pipe | 2,400 | 81 | DAR-SW8 | Farm |
| Darra | Pipe | 1,650 | 19 | DAR-SW9 | Richlands (b) |
| Darra | Pipe | 2,400 | 77 | DAR-SW10 | Farm |
| Darra | Pipe | 1,650 | 15 | DAR-SW11 | Richlands (b) |
| Darra | Pipe | 1,350 | 33 | DAR-SW12 | Farm |
| Darra | Pipe | 1,350 | 25 | DAR-SW13 | Farm |
| Darra | Pipe | 1,950 | 10 | DAR-SW14 | Farm |
| Darra | Pipe | 1,050 | 109 | DAR-SW15 | Richlands (b) |
| Darra | Pipe | 1,650 | 23 | DAR-SW16 | Richlands (b) |
| Darra | Pipe | 1,200 | 10 | DAR-SW17 | Farm |
| Darra | Pipe | 1,200 | 12 | DAR-SW18 | Richlands (b) |
| Darra | Pipe | 2,400 | 8 | DAR-SW19 | Farm |
| Darra | Pipe | 1,500 | 11 | DAR-SW20 | Farm |
| Darra | Pipe | 1,650 | 15 | DAR-SW21 | Richlands (b) |
| Darra | Pipe | 1,050 | 73 | DAR-SW22 | Farm |
| Darra | Pipe | 1,200 | 79 | DAR-SW23 | Farm |
| Darra | Pipe | 1,050 | 3 | DAR-SW24 | Richlands (b) |
| Darra | Pipe | 2,100 | 76 | DAR-SW25 | Farm |
| Darra | Pipe | 2,400 | 81 | DAR-SW26 | Farm |
| Darra | Pipe | 1,050 | 13 | DAR-SW27 | Richlands (b) |
| Darra | Pipe | 2,700 | 52 | DAR-SW28 | Farm |
| Darra | Pipe | 1,800 | 1 | DAR-SW29 | Farm |
| Darra | Pipe | 2,700 | 18 | DAR-SW30 | Farm |
| Darra | Pipe | 2,700 | 18 | DAR-SW31 | Farm |
| Darra | Pipe | 1,500 | 16 | DAR-SW32 | Farm |
| Darra | Pipe | 1,800 | 16 | DAR-SW33 | Farm |
| Darra | Pipe | 1,500 | 5 | DAR-SW34 | Farm |
| Darra | Pipe | 1,800 | 5 | DAR-SW35 | Farm |
| Darra | Pipe | 1,500 | 10 | DAR-SW36 | Farm |
| Darra | Pipe | 1,800 | 72 | DAR-SW37 | Richlands (a) |
| Darra | Pipe | 1,350 | 117 | DAR-SW38 | Richlands (a) |
| Darra | Pipe | 1,650 | 84 | DAR-SW39 | Richlands (a) |
| Darra | Pipe | 1,200 | 44 | DAR-SW40 | Richlands (b) |
| Darra | Pipe | 1,200 | 7 | DAR-SW41 | Richlands (b) |
| Darra | Pipe | 1,200 | 80 | DAR-SW42 | Richlands (b) |
| Darra | Pipe | 1,200 | 13 | DAR-SW43 | Richlands (b) |
| Darra | Pipe | 1,200 | 7 | DAR-SW44 | Richlands (b) |
| Doolandella | Culvert | 900 | 20 | DOO-SW1 | Doolandella |
| Doolandella | Pipe | 750 | 72 | DOO-SW2 | Doolandella |
| Doolandella | Pipe | 1,500 | 129 | DOO-SW3 | Doolandella |
| Doolandella | Pipe | 1,350 | 49 | DOO-SW4 | Doolandella |
| Doolandella | Pipe | 1,200 | 42 | DOO-SW5 | Doolandella |
| Doolandella | Pipe | 1,050 | 48 | DOO-SW6 | Doolandella |
| Doolandella | Pipe | 1,650 | 232 | DOO-SW7 | Doolandella |
| Doolandella | Pipe | 1,500 | 96 | DOO-SW8 | Doolandella |
| Doolandella | Pipe | 1,350 | 89 | DOO-SW9 | Doolandella |
| Doolandella | Pipe | 1,200 | 87 | DOO-SW10 | Doolandella |
| Doolandella | Pipe | 1,050 | 124 | DOO-SW11 | Doolandella |
| Doolandella | Pipe | 1,500 | 131 | DOO-SW12 | Doolandella |
| Doolandella | Pipe | 1,200 | 51 | DOO-SW13 | Doolandella |
| Dutton Park | Pipe | 1,050 | 30 | DUP-SW1 | BBnePrec3 |
| Dutton Park | Pipe | 1,500 | 35 | DUP-SW2 | BBnePrec3 |
| Drewvale | Rehabilitation | - | 65 | DWV-SW1 | Scrubby Creek |
| Drewvale | SQID | - | 35 | DWV-SW2 | Scrubby Creek |
| East Brisbane | Pipe | 1,800 | 29 | EAB-SW1 | BBnePrec3 |
| East Brisbane | Pipe | 1,650 | 72 | EAB-SW2 | BBnePrec3 |
| East Brisbane | Pipe | 1,050 | 45 | EAB-SW3 | Norman Creek |
| East Brisbane | Pipe | 1,200 | 51 | EAB-SW4 | Norman Creek |
| East Brisbane | Pipe | 1,200 | 46 | EAB-SW5 | Norman Creek |
| East Brisbane | Pipe | 1,200 | 16 | EAB-SW6 | Norman Creek |
| East Brisbane | Pipe | 1,500 | 25 | EAB-SW7 | BBnePrec3 |
| East Brisbane | Pipe | 1,500 | 104 | EAB-SW8 | BBnePrec3 |
| East Brisbane | Pipe | 1,800 | 66 | EAB-SW9 | BBnePrec3 |
| East Brisbane | Pipe | 1,200 | 7 | EAB-SW10 | Norman Creek |
| East Brisbane | Pipe | 1,200 | 25 | EAB-SW11 | Norman Creek |
| East Brisbane | Pipe | 2,400 | 22 | EAB-SW12 | Norman Creek |
| East Brisbane | Pipe | 2,400 | 36 | EAB-SW13 | Norman Creek |
| East Brisbane, Woolloongabba | Pipe | 2,400 | 55 | EAB-SW14 | Norman Creek |
| East Brisbane, Woolloongabba | Pipe | 2,400 | 35 | EAB-SW15 | Norman Creek |
| East Brisbane | Pipe | 2,400 | 40 | EAB-SW16 | Norman Creek |
| East Brisbane | Pipe | 1,800 | 147 | EAB-SW17 | BBnePrec3 |
| East Brisbane | Pipe | 1,800 | 26 | EAB-SW18 | BBnePrec3 |
| Ellen Grove | Culvert | 900 | 12 | ELG-SW1 | Richlands (e) |
| Eight Mile Plains, Rochedale | Culvert | 750 | 45 | EMP-SW1 | Bulimba Creek |
| Enoggera | Pipe | 1,200 | 37 | ENG-SW1 | Kedron Brook |
| Enoggera | Pipe | 1,350 | 70 | ENG-SW2 | Kedron Brook |
| Enoggera | Pipe | 1,050 | 10 | ENG-SW3 | Kedron Brook |
| Enoggera | Pipe | 1,050 | 11 | ENG-SW4 | Kedron Brook |
| Enoggera | Pipe | 1,050 | 7 | ENG-SW5 | Kedron Brook |
| Enoggera | Pipe | 1,050 | 38 | ENG-SW6 | Kedron Brook |
| Enoggera | Pipe | 1,200 | 108 | ENG-SW7 | Kedron Brook |
| Enoggera | Pipe | 1,200 | 80 | ENG-SW8 | Kedron Brook |
| Enoggera, Alderley | Pipe | 1,650 | 71 | ENG-SW9 | Kedron Brook |
| Everton Park | Pipe | 2,100 | 94 | EVP-SW1 | Kedron Brook |
| Everton Park | Pipe | 1,800 | 98 | EVP-SW2 | Kedron Brook |
| Everton Park, McDowall | Pipe | 1,050 | 280 | EVP-SW3 | Nundah Downfall Creek |
| Everton Park, McDowall | Pipe | 1,200 | 165 | EVP-SW4 | Nundah Downfall Creek |
| Everton Park | Pipe | 1,800 | 155 | EVP-SW5 | Nundah Downfall Creek |
| Everton Park | SQID | - | 55 | EVP-SW6 | Kedron Brook |
| Everton Park | SQID | - | 250 | EVP-SW7 | Kedron Brook |
| Fairfield | Pipe | 1,050 | 100 | FFD-SW1 | BBnePrec3 |
| Fairfield, Yeronga | Pipe | 1,200 | 92 | FFD-SW2 | BBnePrec3 |
| Fairfield, Yeronga | Pipe | 1,200 | 88 | FFD-SW3 | BBnePrec3 |
| Ferny Grove | Rehabilitation | - | 120 | FGR-SW1 | Kedron Brook |
| Forest Lake | Pipe | 1,800 | 19 | FLK-SW1 | Oxley Creek |
| Fig Tree Pocket | Culvert | 1,200 | 18 | FTP-SW1 | Fig Tree Pocket |
| Fig Tree Pocket | Culvert | 1,200 | 22 | FTP-SW2 | Fig Tree Pocket |
| Fitzgibbon | SQID | - | 43 | FTZ-SW1 | Cabbage Tree Creek |
| Fortitude Valley, Spring Hill | Pipe | 2,100 | 62 | FVA-SW1 | Breakfast Creek |
| Fortitude Valley | Pipe | 2,100 | 56 | FVA-SW2 | Breakfast Creek |
| Fortitude Valley | Pipe | 2,100 | 57 | FVA-SW3 | INES |
| Fortitude Valley | Pipe | 2,100 | 100 | FVA-SW4 | INES |
| Fortitude Valley | Pipe | 2,700 | 56 | FVA-SW5 | INES |
| Fortitude Valley | Pipe | 2,100 | 52 | FVA-SW6 | INES |
| The Gap | Rehabilitation | - | 170 | GAP-SW1 | Breakfast Creek |
| Gordon Park | Pipe | 1,050 | 75 | GPA-SW1 | Kedron Brook |
| Gordon Park | Pipe | 1,200 | 74 | GPA-SW2 | Kedron Brook |
| Gordon Park | Pipe | 1,050 | 7 | GPA-SW3 | Kedron Brook |
| Gordon Park | Pipe | 1,800 | 127 | GPA-SW4 | Kedron Brook |
| Gordon Park | Pipe | 2,700 | 98 | GPA-SW5 | Kedron Brook |
| Gordon Park | Pipe | 2,700 | 55 | GPA-SW6 | Kedron Brook |
| Gordon Park | Pipe | 1,800 | 2 | GPA-SW7 | Kedron Brook |
| Gordon Park | Pipe | 1,200 | 98 | GPA-SW8 | Kedron Brook |
| Gordon Park | Pipe | 1,800 | 11 | GPA-SW9 | Kedron Brook |
| Graceville, Chelmer | Pipe | 825 | 15 | GRA-SW1 | Graceville LSMPS |
| Graceville | Pipe | 825 | 18 | GRA-SW2 | Graceville LSMPS |
| Graceville | Pipe | 825 | 35 | GRA-SW3 | Graceville LSMPS |
| Greenslopes | Pipe | 1,800 | 59 | GRE-SW1 | Norman Creek |
| Greenslopes | Pipe | 1,800 | 60 | GRE-SW2 | Norman Creek |
| Greenslopes | Pipe | 1,950 | 20 | GRE-SW3 | Norman Creek |
| Greenslopes | Pipe | 1,950 | 20 | GRE-SW4 | Norman Creek |
| Greenslopes | Pipe | 1,050 | 49 | GRE-SW5 | Norman Creek |
| Greenslopes | Pipe | 1,050 | 6 | GRE-SW6 | Norman Creek |
| Greenslopes | Pipe | 1,050 | 11 | GRE-SW7 | Norman Creek |
| Greenslopes | Pipe | 1,050 | 7 | GRE-SW8 | Norman Creek |
| Greenslopes | Pipe | 1,050 | 104 | GRE-SW9 | Norman Creek |
| Greenslopes, Coorparoo | Pipe | 1,050 | 100 | GRE-SW10 | Norman Creek |
| Greenslopes | Pipe | 1,050 | 97 | GRE-SW11 | Norman Creek |
| Greenslopes | Pipe | 1,050 | 36 | GRE-SW12 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 4 | GRE-SW13 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 84 | GRE-SW14 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 80 | GRE-SW15 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 145 | GRE-SW16 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 129 | GRE-SW17 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 271 | GRE-SW18 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 162 | GRE-SW19 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 143 | GRE-SW20 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 117 | GRE-SW21 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 93 | GRE-SW22 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 52 | GRE-SW23 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 22 | GRE-SW24 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 24 | GRE-SW25 | Norman Creek |
| Greenslopes | Pipe | 1,350 | 46 | GRE-SW26 | Norman Creek |
| Greenslopes | Pipe | 1,350 | 42 | GRE-SW27 | Norman Creek |
| Greenslopes | Pipe | 1,500 | 94 | GRE-SW28 | Norman Creek |
| Greenslopes | Pipe | 1,500 | 72 | GRE-SW29 | Norman Creek |
| Greenslopes | Pipe | 1,500 | 98 | GRE-SW30 | Norman Creek |
| Greenslopes | Pipe | 1,650 | 87 | GRE-SW31 | Norman Creek |
| Greenslopes | Pipe | 1,800 | 73 | GRE-SW32 | Norman Creek |
| Greenslopes | Pipe | 1,800 | 58 | GRE-SW33 | Norman Creek |
| Greenslopes | Pipe | 1,800 | 8 | GRE-SW34 | Norman Creek |
| Greenslopes | Pipe | 1,800 | 37 | GRE-SW35 | Norman Creek |
| Greenslopes | Pipe | 1,200 | 7 | GRE-SW36 | Norman Creek |
| Gaythorne, Enoggera | Pipe | 1,350 | 58 | GTN-SW1 | Kedron Brook |
| Gaythorne | Pipe | 1,800 | 84 | GTN-SW2 | Kedron Brook |
| Gaythorne, Mitchelton | Pipe | 1,650 | 36 | GTN-SW3 | Kedron Brook |
| Gaythorne | Pipe | 1,800 | 40 | GTN-SW4 | Kedron Brook |
| Gaythorne | Pipe | 1,200 | 63 | GTN-SW5 | Kedron Brook |
| Gumdale | Culvert | 900 | 32 | GUM-SW1 | Wakerley (a) |
| Gumdale, Tingalpa, Wakerley | Land Acquisition | - | 1,370 | GUM-SW2 | Wakerley (b) |
| Heathwood, Pallara | Culvert | 1,200 | 40 | HEA-SW1 | Oxley Creek |
| Heathwood | Culvert | 750 | 30 | HEA-SW2 | Oxley Creek |
| Heathwood, Forest Lake | Pipe | 1,050 | 150 | HEA-SW3 | Oxley Creek |
| Heathwood | Pipe | 1,800 | 18 | HEA-SW4 | Oxley Creek |
| Heathwood | Pipe | 1,800 | 18 | HEA-SW5 | Oxley Creek |
| Hemmant | Backflow prevention device | 1,220 | - | HEM-SW1 | ATC South (a) |
| Hemmant | Backflow prevention device | 1,350 | - | HEM-SW2 | ATC South (a) |
| Hemmant | Backflow prevention device | 1,220 | - | HEM-SW3 | ATC South (a) |
| Hemmant | Culvert | 1,450 | 45 | HEM-SW4 | Bulimba Creek |
| Hemmant | Culvert | 1,500 | 23 | HEM-SW5 | ATC South (c) |
| Hemmant | Culvert | 1,800 | 36 | HEM-SW6 | ATC South (c) |
| Hemmant | Culvert | 900 | 38 | HEM-SW7 | ATC South (c) |
| Hemmant | Culvert | 1,450 | 20 | HEM-SW8 | Bulimba |
| Hemmant | Culvert | 525 | 20 | HEM-SW9 | Bulimba |
| Hemmant | Pipe | 1,200 | 37 | HEM-SW11 | Bulimba |
| Hemmant | Pipe | 825 | 40 | HEM-SW12 | Bulimba |
| Hemmant | Pipe | 825 | 28 | HEM-SW13 | Bulimba |
| Hemmant | Pipe - Relief | 1,050 | 41 | HEM-SW14 | Bulimba Creek |
| Hemmant | SQID | - | - | HEM-SW16 | Bulimba |
| Herston | Pipe | 1,200 | 15 | HER-SW1 | Breakfast Creek |
| Herston | Pipe | 1,350 | 89 | HER-SW2 | Breakfast Creek |
| Herston | Pipe | 1,200 | 79 | HER-SW3 | Breakfast Creek |
| Herston | Pipe | 1,050 | 43 | HER-SW4 | Breakfast Creek |
| Herston | Pipe | 1,050 | 17 | HER-SW5 | Breakfast Creek |
| Herston | Pipe | 1,050 | 20 | HER-SW6 | Breakfast Creek |
| Herston | Pipe | 1,200 | 24 | HER-SW7 | Breakfast Creek |
| Herston | Pipe | 1,350 | 111 | HER-SW8 | Breakfast Creek |
| Highgate Hill | Pipe | 1,050 | 32 | HIH-SW1 | BBnePrec3 |
| Highgate Hill | Pipe | 1,050 | 13 | HIH-SW2 | BBnePrec3 |
| Highgate Hill | Pipe | 1,200 | 16 | HIH-SW3 | BBnePrec3 |
| Highgate Hill | Pipe | 1,200 | 8 | HIH-SW4 | BBnePrec3 |
| Highgate Hill | Pipe | 1,350 | 44 | HIH-SW5 | BBnePrec3 |
| Highgate Hill | Pipe | 1,500 | 6 | HIH-SW6 | BBnePrec3 |
| Highgate Hill, West End | Pipe | 1,500 | 50 | HIH-SW7 | BBnePrec3 |
| Holland Park West | Pipe | 1,200 | 9 | HPW-SW1 | Norman Creek |
| Holland Park West | Pipe | 1,650 | 44 | HPW-SW2 | Norman Creek |
| Holland Park West | Pipe | 2,100 | 96 | HPW-SW3 | Norman Creek |
| Holland Park West | Pipe | 1,650 | 126 | HPW-SW4 | Norman Creek |
| Holland Park West | Pipe | 2,700 | 85 | HPW-SW5 | Norman Creek |
| Holland Park West, Mount Gravatt | Pipe | 2,700 | 17 | HPW-SW6 | Norman Creek |
| Indooroopilly | Pipe | 1,050 | 62 | IND-SW1 | Toowong Creeks |
| Indooroopilly | Pipe | 1,050 | 142 | IND-SW2 | Toowong Creeks |
| Indooroopilly | Pipe | 1,050 | 7 | IND-SW3 | Toowong Creeks |
| Indooroopilly | Pipe | 1,050 | 43 | IND-SW4 | Toowong Creeks |
| Indooroopilly | Pipe | 1,050 | 131 | IND-SW5 | Toowong Creeks |
| Indooroopilly | Pipe | 1,050 | 96 | IND-SW6 | Toowong Creeks |
| Indooroopilly | Pipe | 1,200 | 117 | IND-SW7 | Toowong Creeks |
| Indooroopilly | Pipe | 1,200 | 78 | IND-SW8 | Toowong Creeks |
| Indooroopilly | Pipe | 1,500 | 155 | IND-SW9 | Toowong Creeks |
| Indooroopilly | Pipe | 1,650 | 99 | IND-SW10 | Toowong Creeks |
| Indooroopilly | Pipe | 2,100 | 33 | IND-SW11 | Toowong Creeks |
| Indooroopilly | Pipe | 2,100 | 64 | IND-SW12 | Toowong Creeks |
| Kalinga | Pipe | 1,050 | 172 | KAL-SW1 | Kedron Brook |
| Kalinga | Pipe | 1,350 | 135 | KAL-SW2 | Kedron Brook |
| Kalinga | Pipe | 1,050 | 4 | KAL-SW3 | Kedron Brook |
| Kalinga | Pipe | 1,350 | 3 | KAL-SW4 | Kedron Brook |
| Kalinga | Pipe | 1,350 | 13 | KAL-SW5 | Kedron Brook |
| Kangaroo Point | Pipe | 1,050 | 48 | KAN-SW1 | Norman Creek |
| Kangaroo Point | Pipe | 1,050 | 9 | KAN-SW2 | Norman Creek |
| Kangaroo Point | Pipe | 1,200 | 22 | KAN-SW3 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,200 | 60 | KAN-SW4 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,200 | 33 | KAN-SW5 | Norman Creek |
| Kangaroo Point, East Brisbane | Pipe | 1,200 | 19 | KAN-SW6 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 9 | KAN-SW7 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 6 | KAN-SW8 | Norman Creek |
| Kangaroo Point | Pipe | 1,350 | 20 | KAN-SW9 | Norman Creek |
| Kangaroo Point | Pipe | 1,350 | 23 | KAN-SW10 | Norman Creek |
| Kangaroo Point | Pipe | 1,350 | 27 | KAN-SW11 | Norman Creek |
| Kangaroo Point | Pipe | 1,350 | 15 | KAN-SW12 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 27 | KAN-SW13 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 5 | KAN-SW14 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,500 | 78 | KAN-SW15 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,500 | 40 | KAN-SW16 | Norman Creek |
| Kangaroo Point | Pipe | 1,800 | 36 | KAN-SW17 | Norman Creek |
| Kangaroo Point, East Brisbane | Pipe | 1,350 | 43 | KAN-SW18 | Norman Creek |
| Kangaroo Point | Pipe | 1,800 | 40 | KAN-SW19 | Norman Creek |
| Kangaroo Point | Pipe | 1,800 | 50 | KAN-SW20 | Norman Creek |
| Kangaroo Point | Pipe | 1,800 | 5 | KAN-SW21 | Norman Creek |
| Kangaroo Point | Pipe | 1,200 | 42 | KAN-SW22 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 94 | KAN-SW23 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 85 | KAN-SW24 | BBnePrec3 |
| Kangaroo Point, East Brisbane | Pipe | 1,500 | 67 | KAN-SW25 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,050 | 23 | KAN-SW26 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,200 | 61 | KAN-SW27 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,500 | 51 | KAN-SW28 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,500 | 108 | KAN-SW29 | Norman Creek |
| Kangaroo Point | Pipe | 1,200 | 76 | KAN-SW30 | Norman Creek |
| Kangaroo Point | Pipe | 1,200 | 34 | KAN-SW31 | Norman Creek |
| Kangaroo Point | Pipe | 1,200 | 71 | KAN-SW32 | Norman Creek |
| Kangaroo Point | Pipe | 1,200 | 28 | KAN-SW33 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,200 | 28 | KAN-SW34 | BBnePrec3 |
| Kangaroo Point | Pipe | 1,500 | 46 | KAN-SW35 | Norman Creek |
| Kangaroo Point | Pipe | 1,200 | 33 | KAN-SW36 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 53 | KAN-SW37 | Norman Creek |
| Kangaroo Point | Pipe | 1,500 | 53 | KAN-SW38 | Norman Creek |
| Larapinta | Pipe | 1,050 | 190 | LPA-SW1 | Oxley Creek |
| Larapinta | Pipe | 1,500 | 145 | LPA-SW2 | Oxley Creek |
| Lutwyche | Pipe | 1,050 | 21 | LUT-SW1 | Kedron Brook |
| Lutwyche | Pipe | 2,700 | 100 | LUT-SW2 | Kedron Brook |
| Lutwyche | Pipe | 1,800 | 82 | LUT-SW3 | Kedron Brook |
| Lutwyche | Pipe | 1,500 | 15 | LUT-SW4 | Kedron Brook |
| Lutwyche | Pipe | 2,700 | 8 | LUT-SW5 | Kedron Brook |
| Lutwyche | Pipe | 2,700 | 37 | LUT-SW6 | Kedron Brook |
| Lutwyche | Pipe | 1,500 | 30 | LUT-SW7 | Kedron Brook |
| Lutwyche | Pipe | 1,650 | 41 | LUT-SW8 | Kedron Brook |
| Lutwyche | Pipe | 1,050 | 11 | LUT-SW9 | Kedron Brook |
| Lutwyche, Wooloowin | Pipe | 1,050 | 89 | LUT-SW10 | Kedron Brook |
| Lutwyche | Pipe | 1,050 | 85 | LUT-SW11 | Kedron Brook |
| Lutwyche | Pipe | 1,050 | 83 | LUT-SW12 | Kedron Brook |
| Lytton | Pipe | 900 | 35 | LYT-SW1 | ATC South (c) |
| Macgregor | Pipe | 1,200 | 41 | MCG-SW1 | Bulimba Creek |
| Mansfield | Rehabilitation | - | 435 | MFI-SW1 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,650 | 43 | MGE-SW1 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,650 | 36 | MGE-SW2 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,950 | 19 | MGE-SW3 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,950 | 132 | MGE-SW4 | Bulimba Creek |
| Mount Gravatt East | Pipe | 2,700 | 94 | MGE-SW5 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,950 | 47 | MGE-SW6 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,350 | 58 | MGE-SW7 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,650 | 30 | MGE-SW8 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,050 | 32 | MGE-SW9 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,200 | 9 | MGE-SW10 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,500 | 76 | MGE-SW11 | Bulimba Creek |
| Mount Gravatt East | Pipe | 2,100 | 73 | MGE-SW12 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,950 | 44 | MGE-SW13 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,950 | 89 | MGE-SW14 | Bulimba Creek |
| Mount Gravatt East | Pipe | 1,950 | 113 | MGE-SW15 | Bulimba Creek |
| Mount Gravatt East | Pipe | 2,400 | 97 | MGE-SW16 | Bulimba Creek |
| Mount Gravatt East | Pipe | 2,400 | 31 | MGE-SW17 | Bulimba Creek |
| Mount Gravatt East | Pipe | 2,400 | 110 | MGE-SW18 | Bulimba Creek |
| Mount Gravatt East | Pipe | 2,700 | 15 | MGE-SW19 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,650 | 85 | MGR-SW1 | Norman Creek |
| Mount Gravatt | Pipe | 1,800 | 67 | MGR-SW2 | Norman Creek |
| Mount Gravatt | Pipe | 1,200 | 42 | MGR-SW3 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,500 | 36 | MGR-SW4 | Norman Creek |
| Mount Gravatt | Pipe | 2,700 | 1 | MGR-SW5 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,050 | 30 | MGR-SW6 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,050 | 4 | MGR-SW7 | Norman Creek |
| Mount Gravatt | Pipe | 1,350 | 34 | MGR-SW8 | Bulimba Creek |
| Mount Gravatt | Pipe | 2,100 | 4 | MGR-SW9 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,200 | 23 | MGR-SW10 | Norman Creek |
| Mount Gravatt | Pipe | 1,200 | 101 | MGR-SW11 | Norman Creek |
| Mount Gravatt | Pipe | 1,650 | 5 | MGR-SW12 | Norman Creek |
| Mount Gravatt | Pipe | 2,100 | 18 | MGR-SW13 | Bulimba Creek |
| Mount Gravatt | Pipe | 2,100 | 22 | MGR-SW14 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,950 | 35 | MGR-SW15 | Norman Creek |
| Mount Gravatt | Pipe | 1,950 | 54 | MGR-SW16 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,050 | 23 | MGR-SW17 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,350 | 58 | MGR-SW18 | Norman Creek |
| Mount Gravatt | Pipe | 1,350 | 30 | MGR-SW19 | Norman Creek |
| Mount Gravatt, Mount Gravatt East | Pipe | 1,350 | 83 | MGR-SW20 | Norman Creek |
| Mount Gravatt, Mount Gravatt East | Pipe | 1,650 | 63 | MGR-SW21 | Bulimba Creek |
| Mount Gravatt | Pipe | 1,200 | 15 | MGR-SW22 | Norman Creek |
| Milton, Auchenflower | Pipe | 2,700 | 52 | MIL-SW1 | Western Creeks LSMPS |
| Milton | Pipe | 1,200 | 189 | MIL-SW2 | Western Creeks LSMPS |
| Mitchelton | Natural Channel | - | 180 | MIT-SW1 | Kedron Brook |
| Mitchelton | Pipe | 1,950 | 50 | MIT-SW2 | Kedron Brook |
| Mitchelton | Pipe | 1,050 | 62 | MIT-SW3 | Kedron Brook |
| Mitchelton | Pipe | 1,500 | 22 | MIT-SW4 | Kedron Brook |
| Mitchelton | Pipe | 1,350 | 54 | MIT-SW5 | Kedron Brook |
| Mitchelton | Pipe | 1,350 | 84 | MIT-SW6 | Kedron Brook |
| Mitchelton | Pipe | 1,050 | 71 | MIT-SW7 | Kedron Brook |
| Mitchelton | Pipe | 1,350 | 97 | MIT-SW8 | Kedron Brook |
| Mitchelton | Pipe | 1,350 | 115 | MIT-SW9 | Kedron Brook |
| Mitchelton | Pipe | 1,050 | 21 | MIT-SW10 | Kedron Brook |
| Mitchelton | Pipe | 1,050 | 48 | MIT-SW11 | Kedron Brook |
| Mitchelton | Pipe | 1,050 | 53 | MIT-SW12 | Kedron Brook |
| Mitchelton | Pipe | 1,050 | 30 | MIT-SW13 | Kedron Brook |
| Mitchelton | Pipe | 2,400 | 4 | MIT-SW14 | Kedron Brook |
| Mitchelton | Pipe | 2,400 | 50 | MIT-SW15 | Kedron Brook |
| Mitchelton | Pipe | 2,400 | 9 | MIT-SW16 | Kedron Brook |
| Manly West, Wakerley | Pipe | 750 | 23 | MNW-SW1 | Wakerley (b) |
| Moggill | Pipe | 1,200 | 15 | MOG-SW1 | BBnePrec1 |
| Moggill | Pipe | 1,200 | 18 | MOG-SW2 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 41 | MOG-SW3 | BBnePrec1 |
| Moggill | Pipe | 1,350 | 12 | MOG-SW4 | BBnePrec1 |
| Moggill | Pipe | 1,200 | 17 | MOG-SW5 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 40 | MOG-SW6 | BBnePrec1 |
| Moggill | Pipe | 1,350 | 4 | MOG-SW7 | BBnePrec1 |
| Moggill | Pipe | 1,200 | 12 | MOG-SW8 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 13 | MOG-SW9 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 13 | MOG-SW10 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 19 | MOG-SW11 | BBnePrec1 |
| Moggill | Pipe | 1,200 | 39 | MOG-SW12 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 64 | MOG-SW13 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 16 | MOG-SW14 | BBnePrec1 |
| Moggill | Pipe | 1,200 | 43 | MOG-SW15 | BBnePrec1 |
| Moggill | Pipe | 1,050 | 20 | MOG-SW16 | BBnePrec1 |
| Moggill | Pipe | 1,200 | 33 | MOG-SW17 | BBnePrec1 |
| Moggill | Pipe | 1,350 | 4 | MOG-SW18 | BBnePrec1 |
| Moggill, Bellbowrie | Pipe | 1,350 | 11 | MOG-SW19 | BBnePrec1 |
| Morningside | Pipe | 2,700 | 17 | MOR-SW1 | ATC South (a) |
| Morningside, Balmoral | Pipe | 1,500 | 3 | MOR-SW2 | ATC South (a) |
| Morningside | Pipe | 825 | 62 | MOR-SW3 | ATC South (a) |
| Morningside | Pipe | 1,500 | 89 | MOR-SW4 | ATC South (a) |
| Morningside | Pipe | 1,050 | 46 | MOR-SW5 | Perrin |
| Morningside | Pipe | 1,800 | 26 | MOR-SW6 | Perrin |
| Morningside | Pipe | 2,400 | 15 | MOR-SW7 | Perrin |
| Morningside | Pipe | 1,050 | 27 | MOR-SW8 | Perrin |
| Morningside | Pipe | 1,050 | 90 | MOR-SW9 | ATC South (a) |
| Morningside | Pipe | 1,050 | 33 | MOR-SW10 | Perrin |
| Morningside | Pipe | 2,400 | 3 | MOR-SW11 | Perrin |
| Morningside | Pipe | 1,650 | 30 | MOR-SW12 | Perrin |
| Morningside | Pipe | 1,650 | 76 | MOR-SW13 | Perrin |
| Morningside | Pipe | 2,700 | 39 | MOR-SW14 | Perrin |
| Morningside | Pipe | 1,650 | 36 | MOR-SW15 | Perrin |
| Morningside | Pipe | 2,400 | 62 | MOR-SW16 | Perrin |
| Morningside | Pipe | 1,650 | 40 | MOR-SW17 | Perrin |
| Morningside | Pipe | 2,400 | 82 | MOR-SW18 | Perrin |
| Morningside | Pipe | 1,350 | 49 | MOR-SW19 | Perrin |
| Morningside | Pipe | 1,500 | 95 | MOR-SW20 | Perrin |
| Morningside | Pipe | 1,950 | 90 | MOR-SW21 | Perrin |
| Morningside | Pipe | 1,650 | 14 | MOR-SW22 | Perrin |
| Morningside | Pipe | 2,100 | 9 | MOR-SW23 | Perrin |
| Morningside | Pipe | 1,500 | 123 | MOR-SW24 | Perrin |
| Morningside | Pipe | 2,100 | 6 | MOR-SW25 | Perrin |
| Morningside | Pipe | 1,050 | 9 | MOR-SW26 | Perrin |
| Morningside | Pipe | 1,050 | 10 | MOR-SW27 | ATC South (a) |
| Morningside | Pipe | 1,050 | 73 | MOR-SW28 | ATC South (a) |
| Morningside | Pipe | 1,200 | 96 | MOR-SW29 | ATC South (a) |
| Morningside | Pipe | 2,700 | 113 | MOR-SW30 | Perrin |
| Morningside | Pipe | 1,950 | 15 | MOR-SW31 | Perrin |
| Morningside | Pipe | 1,350 | 9 | MOR-SW32 | Perrin |
| Morningside | Pipe | 1,050 | 42 | MOR-SW33 | Perrin |
| Morningside | Pipe | 2,100 | 26 | MOR-SW34 | Perrin |
| Morningside | Pipe | 1,350 | 7 | MOR-SW35 | Perrin |
| Morningside | Pipe | 1,350 | 44 | MOR-SW36 | Perrin |
| Morningside | Pipe | 1,050 | 34 | MOR-SW37 | Perrin |
| Morningside | Pipe | 1,500 | 31 | MOR-SW38 | Perrin |
| Morningside | Pipe | 2,100 | 11 | MOR-SW39 | Perrin |
| Morningside | Pipe | 2,400 | 17 | MOR-SW40 | Perrin |
| Morningside | Pipe | 2,400 | 16 | MOR-SW41 | Perrin |
| Morningside | Pipe | 2,400 | 13 | MOR-SW42 | Perrin |
| Morningside | Pipe | 2,400 | 11 | MOR-SW43 | Perrin |
| Morningside | Pipe | 2,400 | 14 | MOR-SW44 | Perrin |
| Morningside | Pipe | 2,400 | 6 | MOR-SW45 | Perrin |
| Morningside | Pipe | 2,400 | 4 | MOR-SW46 | Perrin |
| Morningside | Pipe | 2,400 | 4 | MOR-SW47 | Perrin |
| Morningside | Pipe | 2,400 | 3 | MOR-SW48 | Perrin |
| Morningside | Pipe | 2,400 | 3 | MOR-SW49 | Perrin |
| Morningside | Pipe | 2,700 | 4 | MOR-SW50 | Perrin |
| Morningside | Pipe | 2,700 | 12 | MOR-SW51 | Perrin |
| Morningside | Pipe | 1,950 | 39 | MOR-SW52 | Perrin |
| Morningside | Pipe | 2,100 | 84 | MOR-SW53 | Perrin |
| Morningside | Pipe | 2,700 | 32 | MOR-SW54 | Perrin |
| Morningside | Pipe | 2,700 | 23 | MOR-SW55 | Perrin |
| Morningside | Pipe | 2,700 | 36 | MOR-SW56 | Perrin |
| Morningside | Pipe | 2,100 | 80 | MOR-SW57 | Perrin |
| Morningside | Pipe | 1,050 | 18 | MOR-SW58 | Perrin |
| Morningside | Pipe | 1,350 | 25 | MOR-SW59 | Perrin |
| Morningside | Pipe | 1,350 | 3 | MOR-SW60 | Perrin |
| Murarrie | Pipe | 1,200 | 13 | MUR-SW1 | ATC South (a) |
| Murarrie | Pipe | 1,800 | 27 | MUR-SW2 | Perrin |
| Murarrie, Morningside, Cannon Hill | Pipe | 1,350 | 22 | MUR-SW3 | ATC South (a) |
| Murarrie | Pipe | 1,950 | 59 | MUR-SW4 | Perrin |
| Murarrie | Pipe | 1,050 | 5 | MUR-SW5 | ATC South (a) |
| Murarrie | Pipe | 1,200 | 28 | MUR-SW6 | Perrin |
| Murarrie | Pipe | 1,050 | 7 | MUR-SW7 | Perrin |
| Murarrie | Pipe | 1,050 | 8 | MUR-SW8 | Perrin |
| Murarrie | Pipe | 1,050 | 73 | MUR-SW9 | Perrin |
| Murarrie | Pipe | 1,050 | 11 | MUR-SW10 | Perrin |
| Murarrie, Cannon Hill | Pipe | 1,800 | 20 | MUR-SW11 | ATC South (a) |
| Murarrie | Pipe | 1,800 | 5 | MUR-SW12 | ATC South (a) |
| Murarrie | Pipe | 1,950 | 11 | MUR-SW13 | Perrin |
| Murarrie | Pipe | 1,950 | 28 | MUR-SW14 | Perrin |
| Murarrie | Pipe | 1,950 | 12 | MUR-SW15 | Perrin |
| Murarrie | Pipe | 1,050 | 28 | MUR-SW16 | ATC South (a) |
| Murarrie | Pipe | 1,650 | 36 | MUR-SW17 | Perrin |
| Murarrie | Pipe | 2,100 | 18 | MUR-SW18 | Bulimba Creek |
| Murarrie | Pipe | 1,050 | 13 | MUR-SW19 | Bulimba Creek |
| Murarrie | Pipe | 1,050 | 9 | MUR-SW20 | Perrin |
| Murarrie | Pipe | 1,200 | 8 | MUR-SW21 | Bulimba Creek |
| Murarrie | Pipe | 1,050 | 27 | MUR-SW22 | ATC South (a) |
| Murarrie | Pipe | 1,050 | 36 | MUR-SW23 | Bulimba Creek |
| Murarrie | Pipe | 1,050 | 48 | MUR-SW24 | Perrin |
| Murarrie | Pipe | 1,200 | 13 | MUR-SW25 | ATC South (a) |
| Murarrie | Pipe | 1,350 | 31 | MUR-SW26 | ATC South (a) |
| Murarrie | Pipe | 2,100 | 16 | MUR-SW27 | Bulimba Creek |
| Murarrie | Pipe | 2,100 | 9 | MUR-SW28 | Bulimba Creek |
| Murarrie | Pipe | 1,200 | 47 | MUR-SW29 | Perrin |
| Murarrie | Pipe | 1,800 | 41 | MUR-SW30 | Bulimba Creek |
| Murarrie | Pipe | 1,950 | 42 | MUR-SW31 | Perrin |
| Murarrie | Pipe | 1,200 | 8 | MUR-SW32 | ATC South (a) |
| Murarrie, Cannon Hill | Pipe | 1,350 | 9 | MUR-SW33 | Bulimba Creek |
| Murarrie | Pipe | 1,200 | 10 | MUR-SW34 | Bulimba Creek |
| Murarrie | Pipe | 825 | 46 | MUR-SW35 | Bulimba Creek |
| Murarrie | Pipe | 1,350 | 6 | MUR-SW36 | Bulimba Creek |
| Murarrie | Pipe | 1,200 | 15 | MUR-SW37 | ATC South (a) |
| Murarrie | Pipe | 1,200 | 20 | MUR-SW38 | ATC South (a) |
| Murarrie | Pipe | 1,050 | 18 | MUR-SW39 | ATC South (a) |
| Nundah | Pipe | 1,650 | 27 | NUN-SW1 | Kedron Brook |
| Nundah | Pipe | 2,400 | 135 | NUN-SW2 | Kedron Brook |
| Nundah | Pipe | 1,350 | 100 | NUN-SW3 | Kedron Brook |
| Nundah | Pipe | 2,400 | 25 | NUN-SW4 | Kedron Brook |
| Nundah | Pipe | 2,700 | 46 | NUN-SW5 | Kedron Brook |
| Nundah | Pipe | 1,500 | 24 | NUN-SW6 | Kedron Brook |
| Nundah | Pipe | 2,700 | 19 | NUN-SW7 | Kedron Brook |
| Nundah | Pipe | 1,350 | 26 | NUN-SW8 | Kedron Brook |
| Nundah | Pipe | 2,400 | 132 | NUN-SW9 | Kedron Brook |
| Nundah | Pipe | 2,400 | 33 | NUN-SW10 | Kedron Brook |
| Nundah | Pipe | 1,500 | 67 | NUN-SW11 | Kedron Brook |
| Nundah | Pipe | 2,700 | 97 | NUN-SW12 | Kedron Brook |
| Nundah | Pipe | 1,800 | 55 | NUN-SW13 | Kedron Brook |
| Nundah | Pipe | 1,500 | 29 | NUN-SW14 | Kedron Brook |
| Nundah | Pipe | 1,500 | 54 | NUN-SW15 | Kedron Brook |
| Nundah | Pipe | 2,400 | 66 | NUN-SW16 | Kedron Brook |
| Nundah | Pipe | 2,400 | 57 | NUN-SW17 | Kedron Brook |
| Nundah | Pipe | 2,400 | 101 | NUN-SW18 | Kedron Brook |
| Nundah | Pipe | 2,400 | 13 | NUN-SW19 | Kedron Brook |
| Nundah | Pipe | 1,200 | 42 | NUN-SW20 | Kedron Brook |
| Nundah | Pipe | 1,200 | 26 | NUN-SW21 | Kedron Brook |
| Nundah | Pipe | 1,200 | 32 | NUN-SW22 | Kedron Brook |
| Nundah | Pipe | 1,200 | 29 | NUN-SW23 | Kedron Brook |
| Nundah | Pipe | 1,050 | 35 | NUN-SW24 | Kedron Brook |
| Nundah | Pipe | 1,050 | 28 | NUN-SW25 | Kedron Brook |
| Nundah | Pipe | 1,350 | 46 | NUN-SW26 | Kedron Brook |
| Nundah | Pipe | 1,050 | 49 | NUN-SW27 | Kedron Brook |
| Nundah | Pipe | 1,200 | 34 | NUN-SW28 | Kedron Brook |
| Nundah | Pipe | 1,050 | 95 | NUN-SW29 | Kedron Brook |
| Nundah | Pipe | 1,200 | 86 | NUN-SW30 | Kedron Brook |
| Nundah | Pipe | 1,200 | 66 | NUN-SW31 | Kedron Brook |
| Nundah | Pipe | 1,200 | 98 | NUN-SW32 | Kedron Brook |
| Nundah | Pipe | 1,200 | 93 | NUN-SW33 | Kedron Brook |
| Nundah | Pipe | 1,050 | 90 | NUN-SW34 | Kedron Brook |
| New Farm | Pipe | 1,050 | 12 | NWF-SW1 | INES |
| New Farm | Pipe | 1,050 | 28 | NWF-SW2 | INES |
| Newmarket, Kelvin Grove | Natural Channel | - | 370 | NWM-SW1 | Breakfast Creek |
| Oxley, Darra | Culvert | 600 | 22 | OXY-SW1 | Richlands (b) |
| Oxley | Culvert | 300 | 20 | OXY-SW2 | Oxley Creek |
| Oxley | Pipe | 1,050 | 87 | OXY-SW3 | Oxley Creek |
| Oxley | Pipe | 1,200 | 70 | OXY-SW4 | Oxley Creek |
| Oxley | Pipe | 1,650 | 51 | OXY-SW5 | Oxley Creek |
| Oxley | Pipe | 1,200 | 31 | OXY-SW6 | Oxley Creek |
| Oxley | Pipe | 1,050 | 88 | OXY-SW7 | Oxley Creek |
| Oxley | Pipe | 1,950 | 17 | OXY-SW8 | Oxley Creek |
| Oxley | Pipe | 1,050 | 53 | OXY-SW9 | Oxley Creek |
| Oxley | Pipe | 1,800 | 31 | OXY-SW10 | Oxley Creek |
| Oxley | Pipe | 1,950 | 11 | OXY-SW11 | Oxley Creek |
| Oxley | Pipe | 1,500 | 24 | OXY-SW12 | Oxley Creek |
| Oxley | Pipe | 1,050 | 57 | OXY-SW13 | Oxley Creek |
| Oxley | Pipe | 1,200 | 42 | OXY-SW14 | Oxley Creek |
| Oxley | Pipe | 1,950 | 5 | OXY-SW15 | Oxley Creek |
| Oxley | Pipe | 1,200 | 48 | OXY-SW16 | Oxley Creek |
| Oxley | Pipe | 1,050 | 87 | OXY-SW17 | Oxley Creek |
| Oxley | Pipe | 2,400 | 101 | OXY-SW18 | Oxley Creek |
| Oxley | Pipe | 1,050 | 56 | OXY-SW19 | Oxley Creek |
| Paddington | Pipe | 1,050 | 4 | PAD-SW1 | Western Creeks LSMPS |
| Paddington | Pipe | 1,500 | 21 | PAD-SW2 | Western Creeks LSMPS |
| Paddington | Pipe | 1,650 | 7 | PAD-SW3 | Western Creeks LSMPS |
| Paddington | Pipe | 1,650 | 9 | PAD-SW4 | Western Creeks LSMPS |
| Paddington | Pipe | 1,650 | 6 | PAD-SW5 | Western Creeks LSMPS |
| Paddington | Pipe | 2,100 | 7 | PAD-SW6 | Western Creeks LSMPS |
| Pallara | Culvert | 600 | 30 | PAL-SW1 | Oxley Creek |
| Pallara | Culvert | 750 | 30 | PAL-SW2 | Oxley Creek |
| Pallara | Culvert | 1,500 | 30 | PAL-SW3 | Oxley Creek |
| Pallara | Culvert | 1,500 | 50 | PAL-SW4 | Oxley Creek |
| Pallara | Culvert | 600 | 30 | PAL-SW5 | Oxley Creek |
| Pallara | Culvert | 750 | 30 | PAL-SW6 | Oxley Creek |
| Pallara | Culvert | 750 | 30 | PAL-SW7 | Oxley Creek |
| Pallara | Culvert | 1,200 | 30 | PAL-SW8 | Oxley Creek |
| Pallara | Culvert | 900 | 30 | PAL-SW9 | Oxley Creek |
| Pallara | Pipe | 1,050 | 130 | PAL-SW10 | Oxley Creek |
| Pallara | Pipe | 1,350 | 250 | PAL-SW11 | Oxley Creek |
| Pallara | Pipe | 2,100 | 135 | PAL-SW12 | Oxley Creek |
| Pallara | Pipe | 2,400 | 110 | PAL-SW13 | Oxley Creek |
| Pallara | Pipe | 2,700 | 645 | PAL-SW14 | Oxley Creek |
| Pallara | Pipe | 2,400 | 430 | PAL-SW15 | Oxley Creek |
| Pallara | Pipe | 2,700 | 740 | PAL-SW16 | Oxley Creek |
| Pallara | Pipe | 2,400 | 500 | PAL-SW17 | Oxley Creek |
| Pallara | Pipe | 2,100 | 115 | PAL-SW18 | Oxley Creek |
| Pallara | Pipe | 1,950 | 100 | PAL-SW19 | Oxley Creek |
| Pallara | Pipe | 1,800 | 80 | PAL-SW20 | Oxley Creek |
| Pallara | Pipe | 1,200 | 60 | PAL-SW21 | Oxley Creek |
| Pallara | Pipe | 1,650 | 60 | PAL-SW22 | Oxley Creek |
| Pallara | Pipe | 1,500 | 95 | PAL-SW23 | Oxley Creek |
| Pallara | Pipe | 1,350 | 70 | PAL-SW24 | Oxley Creek |
| Pallara | Pipe | 1,200 | 35 | PAL-SW25 | Oxley Creek |
| Pallara | Pipe | 1,050 | 40 | PAL-SW26 | Oxley Creek |
| Pallara, Heathwood | Pipe | 1,050 | 170 | PAL-SW27 | Oxley Creek |
| Pallara | Pipe | 1,350 | 130 | PAL-SW28 | Oxley Creek |
| Pallara | Pipe | 1,500 | 100 | PAL-SW29 | Oxley Creek |
| Pallara | Pipe | 1,950 | 95 | PAL-SW30 | Oxley Creek |
| Pinkenba, Eagle Farm | Culvert | 2,150 | 24 | PIN-SW1 | ATCN |
| Pinkenba | Pipe | 1,200 | 16 | PIN-SW2 | ATCN |
| Pinkenba | Pipe | 1,200 | 29 | PIN-SW3 | ATCN |
| Pinkenba | Pipe | 1,200 | 62 | PIN-SW4 | ATCN |
| Pinkenba | Pipe | 1,500 | 40 | PIN-SW5 | ATCN |
| Pinkenba | Pipe | 1,350 | 140 | PIN-SW6 | ATCN |
| Pinkenba | Pipe | 1,500 | 130 | PIN-SW7 | ATCN |
| Pinkenba | Pipe | 1,800 | 115 | PIN-SW8 | ATCN |
| Pinkenba | Pipe | 1,650 | 17 | PIN-SW9 | ATCN |
| Pinkenba | Pipe | 1,200 | 15 | PIN-SW10 | ATCN |
| Red Hill, Ashgrove | Rehabilitation | - | 100 | RHI-SW1 | Breakfast Creek |
| Red Hill, Ashgrove | Rehabilitation | - | 233 | RHI-SW2 | Breakfast Creek |
| Richlands | Culvert | 1,050 | 11 | RIC-SW1 | Richlands (d) |
| Richlands | Culvert | 1,500 | 12 | RIC-SW2 | Richlands (d) |
| Richlands | Pipe | 1,050 | 14 | RIC-SW3 | Richlands (a) |
| Richlands | Pipe | 1,050 | 61 | RIC-SW4 | Richlands (a) |
| Richlands | Pipe | 1,200 | 10 | RIC-SW5 | Richlands (d) |
| Rochedale | Bioretention Swale | - | 333 | ROC-SW1 | Rochedale (b) |
| Rochedale | Bioretention Swale | - | 362 | ROC-SW2 | Rochedale (b) |
| Rochedale | Culvert | 2,100 | 31 | ROC-SW3 | Rochedale (d) |
| Rochedale | Culvert | 900 | 43 | ROC-SW4 | Rochedale (d) |
| Rochedale | Culvert | 2,100 | 32 | ROC-SW5 | Rochedale (d) |
| Rochedale | Culvert | 2,700 | 48 | ROC-SW6 | Rochedale (d) |
| Rochedale | Culvert | 1,200 | 50 | ROC-SW7 | Rochedale (d) |
| Rochedale | Culvert | 1,800 | 42 | ROC-SW8 | Rochedale (b) |
| Rochedale | Culvert | 2,100 | 50 | ROC-SW9 | Rochedale (b) |
| Rochedale | Culvert | 2,100 | 44 | ROC-SW10 | Rochedale (b) |
| Rochedale | Culvert | 2,100 | 49 | ROC-SW11 | Rochedale (a) |
| Rochedale | Culvert | 1,800 | 40 | ROC-SW12 | Rochedale (d) |
| Rochedale | Culvert | 1,800 | 19 | ROC-SW13 | Rochedale (a) |
| Rochedale | Culvert | 2,100 | 42 | ROC-SW14 | Rochedale (b) |
| Rochedale | Land Acquisition | - | - | ROC-SW15 | Rochedale (d) |
| Rochedale | Land Acquisition | - | - | ROC-SW16 | Rochedale (d) |
| Rochedale | Pipe | 2,100 | 154 | ROC-SW17 | Rochedale (d) |
| Rochedale | Pipe | 1,200 | 10 | ROC-SW18 | Rochedale (d) |
| Rochedale | Pipe | 1,350 | 33 | ROC-SW19 | Rochedale (d) |
| Rochedale | Pipe | 1,050 | 53 | ROC-SW20 | Rochedale (d) |
| Rochedale | Pipe | 1,350 | 45 | ROC-SW21 | Rochedale (d) |
| Rochedale | Pipe | 1,350 | 25 | ROC-SW22 | Rochedale (d) |
| Rochedale | Pipe | 1,350 | 232 | ROC-SW23 | Rochedale (b) |
| Rochedale | Pipe | 1,500 | 27 | ROC-SW24 | Rochedale (b) |
| Rochedale | Pipe | 1,350 | 138 | ROC-SW25 | Rochedale (b) |
| Rochedale | Pipe | 1,050 | 146 | ROC-SW26 | Rochedale (b) |
| Rochedale | Pipe | 1,200 | 253 | ROC-SW27 | Rochedale (b) |
| Rochedale | Pipe | 1,950 | 232 | ROC-SW28 | Rochedale (b) |
| Rochedale | Pipe | 2,100 | 138 | ROC-SW29 | Rochedale (b) |
| Rochedale | Pipe | 1,950 | 27 | ROC-SW30 | Rochedale (b) |
| Rochedale | Pipe | 1,500 | 152 | ROC-SW31 | Rochedale (b) |
| Rochedale | Pipe | 1,050 | 103 | ROC-SW32 | Rochedale (b) |
| Rochedale | Pipe | 1,200 | 152 | ROC-SW33 | Rochedale (b) |
| Rochedale | Pipe | 1,200 | 103 | ROC-SW34 | Rochedale (b) |
| Rochedale | Pipe | 1,200 | 32 | ROC-SW35 | Rochedale (b) |
| Rochedale | Pipe | 1,050 | 47 | ROC-SW36 | Rochedale (b) |
| Rochedale | Pipe | 1,050 | 24 | ROC-SW37 | Rochedale (b) |
| Rochedale | Pipe | 1,050 | 39 | ROC-SW38 | Rochedale (b) |
| Rochedale | Pipe | 1,050 | 120 | ROC-SW39 | Rochedale (b) |
| Rochedale | Pipe | 1,500 | 98 | ROC-SW40 | Rochedale (b) |
| Rochedale | Pipe | 1,050 | 60 | ROC-SW41 | Rochedale (b) |
| Rochedale | Pipe | 1,500 | 120 | ROC-SW42 | Rochedale (b) |
| Rochedale | Pipe | 1,500 | 60 | ROC-SW43 | Rochedale (b) |
| Rochedale | Pipe | 1,650 | 74 | ROC-SW44 | Rochedale (a) |
| Rochedale | Pipe | 1,500 | 106 | ROC-SW45 | Rochedale (a) |
| Rochedale | Pipe | 1,500 | 29 | ROC-SW46 | Rochedale (a) |
| Rochedale | Pipe | 1,500 | 109 | ROC-SW47 | Rochedale (a) |
| Rochedale | Pipe | 1,650 | 51 | ROC-SW48 | Rochedale (a) |
| Rochedale | Pipe | 1,800 | 38 | ROC-SW49 | Rochedale (a) |
| Rochedale | Pipe | 1,050 | 18 | ROC-SW50 | Rochedale (a) |
| Rochedale | Rehabilitation | - | - | ROC-SW51 | Rochedale (b) |
| Rochedale | SQID | - | - | ROC-SW52 | Rochedale (d) |
| Rochedale | SQID | - | - | ROC-SW53 | Rochedale (d) |
| Rochedale | SQID | - | - | ROC-SW54 | Rochedale (d) |
| Rochedale | SQID | - | - | ROC-SW55 | Rochedale (b) |
| Rochedale | SQID | - | - | ROC-SW56 | Rochedale (b) |
| Rochedale | SQID | - | - | ROC-SW57 | Rochedale (b) |
| Rochedale | SQID | - | - | ROC-SW58 | Rochedale (b) |
| Rochedale | SQID | - | - | ROC-SW59 | Rochedale (b) |
| Rochedale | SQID | - | - | ROC-SW60 | Rochedale (a) |
| Rochedale | SQID | - | - | ROC-SW61 | Rochedale (a) |
| Rochedale | SQID | - | - | ROC-SW62 | Rochedale (a) |
| Rocklea | Land Acquisition | - | 303 | ROK-SW1 | Oxley Creek |
| Runcorn | Pipe | 1,500 | 142 | RUN-SW1 | Bulimba Creek |
| Runcorn | Pipe | 1,500 | 17 | RUN-SW2 | Bulimba Creek |
| South Brisbane | Pipe | 750 | 24 | SBR-SW1 | BBnePrec3 |
| South Brisbane | Pipe | 1,050 | 14 | SBR-SW2 | BBnePrec3 |
| South Brisbane | Pipe | 1,050 | 24 | SBR-SW3 | BBnePrec3 |
| South Brisbane | Pipe | 1,200 | 8 | SBR-SW4 | BBnePrec3 |
| South Brisbane | Pipe | 1,200 | 24 | SBR-SW5 | BBnePrec3 |
| South Brisbane | Pipe | 1,200 | 8 | SBR-SW6 | BBnePrec3 |
| South Brisbane | Pipe | 1,200 | 19 | SBR-SW7 | BBnePrec3 |
| South Brisbane | Pipe | 1,050 | 59 | SBR-SW8 | BBnePrec3 |
| South Brisbane | Pipe | 1,050 | 60 | SBR-SW9 | BBnePrec3 |
| South Brisbane | Pipe | 1,050 | 27 | SBR-SW10 | BBnePrec3 |
| South Brisbane | Pipe | 750 | 54 | SBR-SW11 | West End (b) |
| South Brisbane | Pipe | 750 | 7 | SBR-SW12 | West End (b) |
| South Brisbane | Pipe | 750 | 9 | SBR-SW13 | West End (b) |
| South Brisbane | Pipe | 900 | 61 | SBR-SW14 | West End (b) |
| South Brisbane | Pipe | 900 | 36 | SBR-SW15 | West End (b) |
| Spring Hill | Pipe | 2,100 | 42 | SHI-SW1 | Breakfast Creek |
| Spring Hill | Pipe | 1,350 | 91 | SHI-SW2 | Breakfast Creek |
| Spring Hill | Pipe | 2,100 | 46 | SHI-SW3 | Breakfast Creek |
| Spring Hill | Pipe | 1,200 | 143 | SHI-SW4 | Breakfast Creek |
| Spring Hill | Pipe | 1,050 | 53 | SHI-SW5 | Breakfast Creek |
| Spring Hill | Pipe | 1,200 | 82 | SHI-SW6 | Breakfast Creek |
| Spring Hill | Pipe | 1,500 | 148 | SHI-SW7 | Breakfast Creek |
| Spring Hill | Pipe | 1,200 | 19 | SHI-SW8 | Breakfast Creek |
| Spring Hill | Pipe | 1,350 | 80 | SHI-SW9 | Breakfast Creek |
| Spring Hill | Pipe | 1,200 | 33 | SHI-SW10 | Breakfast Creek |
| Spring Hill | Pipe | 2,100 | 61 | SHI-SW11 | Breakfast Creek |
| Spring Hill | Pipe | 1,350 | 98 | SHI-SW12 | Breakfast Creek |
| Spring Hill | Pipe | 1,500 | 63 | SHI-SW13 | Breakfast Creek |
| Spring Hill | Pipe | 1,350 | 42 | SHI-SW14 | Breakfast Creek |
| Spring Hill | Pipe | 2,100 | 32 | SHI-SW15 | INES |
| Spring Hill | Pipe | 2,100 | 26 | SHI-SW16 | INES |
| Spring Hill | Pipe | 1,200 | 142 | SHI-SW17 | INES |
| Spring Hill | Pipe | 1,800 | 46 | SHI-SW18 | INES |
| Spring Hill | Pipe | 1,200 | 55 | SHI-SW19 | INES |
| Spring Hill | Pipe | 2,100 | 39 | SHI-SW20 | INES |
| Spring Hill | Pipe | 1,800 | 79 | SHI-SW21 | INES |
| St Lucia | Pipe | 1,500 | 68 | SLU-SW1 | Toowong Creeks |
| St Lucia | Pipe | 1,500 | 40 | SLU-SW2 | Toowong Creeks |
| St Lucia | Pipe | 1,500 | 20 | SLU-SW3 | Toowong Creeks |
| St Lucia | Pipe | 1,500 | 29 | SLU-SW4 | Toowong Creeks |
| Taringa | Pipe | 1,050 | 90 | TAR-SW1 | Toowong Creeks |
| Taringa | Pipe | 1,050 | 41 | TAR-SW2 | Toowong Creeks |
| Taringa | Pipe | 1,050 | 16 | TAR-SW3 | Toowong Creeks |
| Taringa | Pipe | 1,050 | 34 | TAR-SW4 | Toowong Creeks |
| Taringa | Pipe | 1,050 | 16 | TAR-SW5 | Toowong Creeks |
| Taringa | Pipe | 1,050 | 15 | TAR-SW6 | Toowong Creeks |
| Taringa | Pipe | 1,050 | 36 | TAR-SW7 | Toowong Creeks |
| Taringa | Pipe | 1,200 | 97 | TAR-SW8 | Toowong Creeks |
| Taringa | Pipe | 1,200 | 23 | TAR-SW9 | Toowong Creeks |
| Taringa | Pipe | 1,200 | 61 | TAR-SW10 | Toowong Creeks |
| Taringa | Pipe | 1,200 | 38 | TAR-SW11 | Toowong Creeks |
| Taringa | Pipe | 1,200 | 55 | TAR-SW12 | Toowong Creeks |
| Taringa | Pipe | 1,200 | 87 | TAR-SW13 | Toowong Creeks |
| Taringa | Pipe | 1,200 | 18 | TAR-SW14 | Toowong Creeks |
| Taringa | Pipe | 1,350 | 95 | TAR-SW15 | Toowong Creeks |
| Taringa | Pipe | 1,350 | 51 | TAR-SW16 | Toowong Creeks |
| Taringa | Pipe | 1,350 | 32 | TAR-SW17 | Toowong Creeks |
| Taringa | Pipe | 1,350 | 48 | TAR-SW18 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 50 | TAR-SW19 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 39 | TAR-SW20 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 30 | TAR-SW21 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 51 | TAR-SW22 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 65 | TAR-SW23 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 45 | TAR-SW24 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 60 | TAR-SW25 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 59 | TAR-SW26 | Toowong Creeks |
| Taringa | Pipe | 1,650 | 52 | TAR-SW27 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 23 | TAR-SW28 | Toowong Creeks |
| Taringa, Toowong | Pipe | 1,800 | 94 | TAR-SW29 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 90 | TAR-SW30 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 43 | TAR-SW31 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 58 | TAR-SW32 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 20 | TAR-SW33 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 45 | TAR-SW34 | Toowong Creeks |
| Taringa, Toowong | Pipe | 1,800 | 23 | TAR-SW35 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 11 | TAR-SW36 | Toowong Creeks |
| Taringa | Pipe | 1,800 | 107 | TAR-SW37 | Toowong Creeks |
| Taringa | Pipe | 1,950 | 47 | TAR-SW38 | Toowong Creeks |
| Toowong | Pipe | 1,350 | 38 | TOO-SW1 | Toowong Creeks |
| Toowong | Pipe | 1,500 | 101 | TOO-SW2 | Toowong Creeks |
| Toowong | Pipe | 1,350 | 65 | TOO-SW3 | Toowong Creeks |
| Toowong | Pipe | 1,500 | 96 | TOO-SW4 | Toowong Creeks |
| Toowong | Pipe | 1,950 | 107 | TOO-SW5 | Toowong Creeks |
| Toowong | Pipe | 1,050 | 43 | TOO-SW6 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 40 | TOO-SW7 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 84 | TOO-SW8 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 42 | TOO-SW9 | Toowong Creeks |
| Toowong | Pipe | 1,950 | 50 | TOO-SW10 | Toowong Creeks |
| Toowong | Pipe | 1,950 | 41 | TOO-SW11 | Toowong Creeks |
| Toowong | Pipe | 3,000 | 68 | TOO-SW12 | Toowong Creeks |
| Toowong | Pipe | 3,000 | 48 | TOO-SW13 | Toowong Creeks |
| Toowong | Pipe | 3,000 | 24 | TOO-SW14 | Toowong Creeks |
| Toowong | Pipe | 1,500 | 53 | TOO-SW15 | Toowong Creeks |
| Toowong | Pipe | 1,500 | 21 | TOO-SW16 | Toowong Creeks |
| Toowong | Pipe | 1,500 | 24 | TOO-SW17 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 19 | TOO-SW18 | Toowong Creeks |
| Toowong | Pipe | 1,050 | 15 | TOO-SW19 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 14 | TOO-SW20 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 66 | TOO-SW21 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 87 | TOO-SW22 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 124 | TOO-SW23 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 13 | TOO-SW24 | Toowong Creeks |
| Toowong | Pipe | 1,950 | 15 | TOO-SW25 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 7 | TOO-SW26 | Toowong Creeks |
| Toowong | Pipe | 3,000 | 14 | TOO-SW27 | Toowong Creeks |
| Toowong | Pipe | 1,500 | 78 | TOO-SW28 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 8 | TOO-SW29 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 20 | TOO-SW30 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 64 | TOO-SW31 | Toowong Creeks |
| Toowong | Pipe | 2,400 | 66 | TOO-SW32 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 12 | TOO-SW33 | Toowong Creeks |
| Toowong | Pipe | 1,200 | 23 | TOO-SW34 | Toowong Creeks |
| Toowong | Pipe | 1,200 | 12 | TOO-SW35 | Toowong Creeks |
| Toowong | Pipe | 1,200 | 38 | TOO-SW36 | Toowong Creeks |
| Toowong | Pipe | 1,800 | 19 | TOO-SW37 | Western Creeks LSMPS |
| Toowong | Pipe | 1,950 | 37 | TOO-SW38 | Western Creeks LSMPS |
| Toowong | Pipe | 1,950 | 83 | TOO-SW39 | Western Creeks LSMPS |
| Toowong | Pipe | 1,950 | 83 | TOO-SW40 | Western Creeks LSMPS |
| Toowong | Pipe | 1,500 | 69 | TOO-SW41 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 50 | TOO-SW42 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 85 | TOO-SW43 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 84 | TOO-SW44 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 52 | TOO-SW45 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 91 | TOO-SW46 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 93 | TOO-SW47 | Western Creeks LSMPS |
| Toowong | Pipe | 1,350 | 43 | TOO-SW48 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 19 | TOO-SW49 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 28 | TOO-SW50 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 19 | TOO-SW51 | Western Creeks LSMPS |
| Toowong | Pipe | 1,050 | 78 | TOO-SW52 | Western Creeks LSMPS |
| Toowong | Pipe | 1,050 | 53 | TOO-SW53 | Western Creeks LSMPS |
| Toowong | Pipe | 1,050 | 48 | TOO-SW54 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 66 | TOO-SW55 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 5 | TOO-SW56 | Western Creeks LSMPS |
| Toowong | Pipe | 1,050 | 28 | TOO-SW57 | Toowong Creeks |
| Toowong | Pipe | 1,050 | 15 | TOO-SW58 | Toowong Creeks |
| Toowong | Pipe | 1,200 | 7 | TOO-SW59 | Toowong Creeks |
| Toowong | Pipe | 1,200 | 96 | TOO-SW60 | Western Creeks LSMPS |
| Toowong | Pipe | 1,200 | 111 | TOO-SW61 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 8 | TOO-SW62 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 13 | TOO-SW63 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 77 | TOO-SW64 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 86 | TOO-SW65 | Western Creeks LSMPS |
| Toowong | Pipe | 1,650 | 75 | TOO-SW66 | Western Creeks LSMPS |
| Toowong | Pipe | 1,950 | 49 | TOO-SW67 | Western Creeks LSMPS |
| Toowong, Taringa | Rehabilitation | - | 484 | TOO-SW68 | Toowong Creeks |
| Upper Kedron | Rehabilitation | - | 55 | UKE-SW1 | Kedron Brook |
| Upper Mount Gravatt | Pipe | 1,800 | 18 | UMG-SW1 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,500 | 23 | UMG-SW2 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,350 | 37 | UMG-SW3 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,350 | 66 | UMG-SW4 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,350 | 88 | UMG-SW5 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,350 | 29 | UMG-SW6 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,200 | 32 | UMG-SW7 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,200 | 44 | UMG-SW8 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,500 | 55 | UMG-SW9 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,050 | 53 | UMG-SW10 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,050 | 11 | UMG-SW11 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,350 | 21 | UMG-SW12 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,500 | 13 | UMG-SW13 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,050 | 18 | UMG-SW14 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,050 | 11 | UMG-SW15 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 2,700 | 89 | UMG-SW16 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,650 | 22 | UMG-SW17 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,800 | 12 | UMG-SW18 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,650 | 1 | UMG-SW19 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,650 | 79 | UMG-SW20 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,650 | 52 | UMG-SW21 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,650 | 75 | UMG-SW22 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,050 | 9 | UMG-SW23 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,050 | 22 | UMG-SW24 | Bulimba Creek |
| Upper Mount Gravatt | Pipe | 1,050 | 41 | UMG-SW25 | Bulimba Creek |
| Wakerley | Culvert | 900 | 39 | WAK-SW1 | Wakerley (b) |
| Wakerley | Culvert | 900 | 21 | WAK-SW2 | Wakerley (a) |
| Wakerley, Gumdale | Culvert | 900 | 32 | WAK-SW3 | Wakerley (a) |
| Wakerley | Land Acquisition | - | 564 | WAK-SW4 | Wakerley (a) |
| Wacol | Culvert | 1,200 | 15 | WCL-SW1 | Richlands (d) |
| Wacol | Culvert | 1,350 | 15 | WCL-SW2 | Richlands (d) |
| Wacol | Culvert | 1,500 | 26 | WCL-SW3 | Richlands (d) |
| Wacol | Natural Channel | - | 420 | WCL-SW4 | Richlands (d) |
| Wacol | Natural Channel | - | 350 | WCL-SW5 | Richlands (d) |
| Wacol | Pipe | 1,500 | 75 | WCL-SW6 | Richlands (d) |
| Wacol | Pipe | 1,200 | 184 | WCL-SW7 | Richlands (d) |
| Wacol | Pipe | 1,500 | 105 | WCL-SW8 | Richlands (d) |
| Wacol | Pipe | 1,050 | 31 | WCL-SW9 | Richlands (d) |
| Wacol | Pipe | 1,200 | 154 | WCL-SW10 | Richlands (d) |
| Wacol | Pipe | 1,500 | 127 | WCL-SW11 | Richlands (d) |
| Wacol | Pipe | 1,200 | 70 | WCL-SW12 | Richlands (c) |
| Wacol, Richlands | Pipe | 1,050 | 195 | WCL-SW13 | Richlands (d) |
| Wacol | Pipe | 1,050 | 77 | WCL-SW14 | Richlands (d) |
| Wacol | Pipe | 1,350 | 27 | WCL-SW15 | Richlands (d) |
| Wacol | Pipe | 1,050 | 10 | WCL-SW16 | Wolston |
| Wacol | Pipe | 1,050 | 85 | WCL-SW17 | Wolston |
| Wacol | Pipe | 1,050 | 13 | WCL-SW18 | Richlands (c) |
| Wacol | Pipe | 1,200 | 222 | WCL-SW19 | Richlands (c) |
| Wacol | Pipe | 1,200 | 101 | WCL-SW20 | Richlands (c) |
| Wacol | Pipe | 1,650 | 87 | WCL-SW21 | Richlands (c) |
| Wacol | Pipe | 1,650 | 170 | WCL-SW22 | Richlands (c) |
| Wacol | Pipe | 1,050 | 108 | WCL-SW23 | Richlands (c) |
| Wacol | Pipe | 1,200 | 146 | WCL-SW24 | Richlands (d) |
| Wacol | Pipe | 1,350 | 27 | WCL-SW25 | Richlands (d) |
| Wacol | Pipe | 1,050 | 52 | WCL-SW26 | Richlands (d) |
| Wacol | Pipe | 1,050 | 10 | WCL-SW27 | Richlands (d) |
| Wacol | Pipe | 1,050 | 84 | WCL-SW28 | Richlands (d) |
| Wacol | Pipe | 1,200 | 13 | WCL-SW29 | Richlands (d) |
| Wacol | Pipe | 1,500 | 19 | WCL-SW30 | Richlands (d) |
| Wacol | Pipe | 1,200 | 160 | WCL-SW31 | Richlands (d) |
| Wacol | Pipe | 1,500 | 225 | WCL-SW32 | Richlands (d) |
| Wacol | Pipe | 1,050 | 110 | WCL-SW33 | Richlands (d) |
| Wacol | Pipe | 1,050 | 174 | WCL-SW34 | Richlands (e) |
| Wacol, Ellen Grove | Pipe | 1,200 | 147 | WCL-SW35 | Richlands (e) |
| Wacol | SQID | - | 210 | WCL-SW36 | Richlands (d) |
| Wacol | SQID | - | 200 | WCL-SW37 | Richlands (d) |
| Wavell Heights | Pipe | 1,200 | 51 | WVH-SW1 | Kedron Brook |
| Wavell Heights | Pipe | 1,350 | 9 | WVH-SW2 | Kedron Brook |
| Wavell Heights | Pipe | 1,650 | 45 | WVH-SW3 | Kedron Brook |
| Wavell Heights | Pipe | 1,650 | 40 | WVH-SW4 | Kedron Brook |
| Wavell Heights, Kedron | Pipe | 1,650 | 22 | WVH-SW5 | Kedron Brook |
| Wavell Heights | Pipe | 1,650 | 90 | WVH-SW6 | Kedron Brook |
| Wavell Heights | Pipe | 1,650 | 125 | WVH-SW7 | Kedron Brook |
| Wavell Heights | Pipe | 1,650 | 9 | WVH-SW8 | Kedron Brook |
| Wavell Heights | Pipe | 1,800 | 89 | WVH-SW9 | Kedron Brook |
| Wavell Heights | Pipe | 1,800 | 88 | WVH-SW10 | Kedron Brook |
| Wavell Heights | Pipe | 1,950 | 42 | WVH-SW11 | Kedron Brook |
| Wavell Heights | Pipe | 1,950 | 7 | WVH-SW12 | Kedron Brook |
| Wavell Heights | Pipe | 1,950 | 74 | WVH-SW13 | Kedron Brook |
| West End | Pipe | 1,050 | 27 | WES-SW1 | BBnePrec3 |
| West End | Pipe | 1,500 | 84 | WES-SW2 | West End (a) |
| West End | Pipe | 900 | 18 | WES-SW3 | BBnePrec3 |
| West End | Pipe | 900 | 16 | WES-SW4 | BBnePrec3 |
| West End | Pipe | 900 | 45 | WES-SW5 | BBnePrec3 |
| West End | Pipe | 900 | 51 | WES-SW6 | BBnePrec3 |
| West End | Pipe | 1,800 | 68 | WES-SW7 | BBnePrec3 |
| West End | Pipe | 1,050 | 35 | WES-SW8 | BBnePrec3 |
| West End | Pipe | 1,050 | 45 | WES-SW9 | BBnePrec3 |
| West End | Pipe | 1,200 | 48 | WES-SW10 | BBnePrec3 |
| West End | Pipe | 1,200 | 16 | WES-SW11 | BBnePrec3 |
| West End | Pipe | 1,200 | 23 | WES-SW12 | BBnePrec3 |
| West End | Pipe | 1,200 | 43 | WES-SW13 | BBnePrec3 |
| West End | Pipe | 1,200 | 48 | WES-SW14 | BBnePrec3 |
| West End | Pipe | 1,200 | 57 | WES-SW15 | BBnePrec3 |
| West End | Pipe | 1,200 | 14 | WES-SW16 | BBnePrec3 |
| West End | Pipe | 1,350 | 42 | WES-SW17 | BBnePrec3 |
| West End | Pipe | 1,350 | 11 | WES-SW18 | BBnePrec3 |
| West End | Pipe | 1,350 | 30 | WES-SW19 | BBnePrec3 |
| West End | Pipe | 1,350 | 28 | WES-SW20 | BBnePrec3 |
| West End | Pipe | 1,350 | 32 | WES-SW21 | BBnePrec3 |
| West End | Pipe | 1,350 | 42 | WES-SW22 | BBnePrec3 |
| West End | Pipe | 1,500 | 48 | WES-SW23 | BBnePrec3 |
| West End | Pipe | 1,500 | 88 | WES-SW24 | BBnePrec3 |
| West End | Pipe | 1,500 | 35 | WES-SW25 | BBnePrec3 |
| West End | Pipe | 1,500 | 35 | WES-SW26 | BBnePrec3 |
| West End | Pipe | 1,500 | 48 | WES-SW27 | BBnePrec3 |
| West End | Pipe | 1,500 | 14 | WES-SW28 | BBnePrec3 |
| West End | Pipe | 1,500 | 44 | WES-SW29 | BBnePrec3 |
| West End | Pipe | 1,500 | 81 | WES-SW30 | BBnePrec3 |
| West End | Pipe | 1,500 | 25 | WES-SW31 | BBnePrec3 |
| West End | Pipe | 1,500 | 63 | WES-SW32 | BBnePrec3 |
| West End | Pipe | 1,500 | 44 | WES-SW33 | BBnePrec3 |
| West End | Pipe | 1,500 | 34 | WES-SW34 | BBnePrec3 |
| West End | Pipe | 1,800 | 23 | WES-SW35 | BBnePrec3 |
| West End | Pipe | 1,500 | 64 | WES-SW36 | BBnePrec3 |
| West End | Pipe | 1,800 | 30 | WES-SW37 | BBnePrec3 |
| West End | Pipe | 1,800 | 35 | WES-SW38 | BBnePrec3 |
| West End | Pipe | 1,800 | 8 | WES-SW39 | BBnePrec3 |
| West End | Pipe | 1,800 | 41 | WES-SW40 | BBnePrec3 |
| West End | Pipe | 1,800 | 45 | WES-SW41 | BBnePrec3 |
| West End | Pipe | 1,800 | 50 | WES-SW42 | BBnePrec3 |
| West End | Pipe | 1,800 | 45 | WES-SW43 | BBnePrec3 |
| West End | Pipe | 1,800 | 35 | WES-SW44 | BBnePrec3 |
| West End | Pipe | 1,800 | 51 | WES-SW45 | BBnePrec3 |
| West End | Pipe | 1,800 | 43 | WES-SW46 | BBnePrec3 |
| West End | Pipe | 1,800 | 39 | WES-SW47 | BBnePrec3 |
| West End | Pipe | 1,800 | 47 | WES-SW48 | BBnePrec3 |
| West End | Pipe | 1,800 | 39 | WES-SW49 | BBnePrec3 |
| West End | Pipe | 1,800 | 80 | WES-SW50 | BBnePrec3 |
| West End | Pipe | 1,800 | 5 | WES-SW51 | BBnePrec3 |
| West End | Pipe | 1,800 | 33 | WES-SW52 | BBnePrec3 |
| West End | Pipe | 2,400 | 65 | WES-SW53 | BBnePrec3 |
| West End | Pipe | 2,400 | 49 | WES-SW54 | BBnePrec3 |
| West End | Pipe | 2,400 | 67 | WES-SW55 | BBnePrec3 |
| West End | Pipe | 2,400 | 38 | WES-SW56 | BBnePrec3 |
| West End | Pipe | 900 | 59 | WES-SW57 | West End (a) |
| Willawong | Culvert | 750 | 30 | WIL-SW1 | Oxley Creek |
| Willawong | Culvert | 750 | 70 | WIL-SW2 | Oxley Creek |
| Willawong | Culvert | 600 | 25 | WIL-SW3 | Oxley Creek |
| Willawong | Culvert | 900 | 30 | WIL-SW4 | Oxley Creek |
| Willawong | Pipe - New | 1,650 | 193 | WIL-SW5 | Oxley Creek |
| Willawong | Pipe - New | 1,650 | 94 | WIL-SW6 | Oxley Creek |
| Willawong | Pipe - New | 1,650 | 62 | WIL-SW7 | Oxley Creek |
| Willawong | Pipe - New | 1,500 | 55 | WIL-SW8 | Oxley Creek |
| Willawong | Pipe - New | 1,350 | 100 | WIL-SW9 | Oxley Creek |
| Willawong | Pipe - New | 1,350 | 50 | WIL-SW10 | Oxley Creek |
| Willawong | Pipe - New | 1,200 | 50 | WIL-SW11 | Oxley Creek |
| Willawong | Pipe - New | 1,200 | 198 | WIL-SW12 | Oxley Creek |
| Willawong | Pipe - New | 1,050 | 106 | WIL-SW13 | Oxley Creek |
| Willawong | SQID | - | 8 | WIL-SW14 | Oxley Creek |
| Wishart | Pipe | 1,050 | 23 | WIS-SW1 | Bulimba Creek |
| Windsor | Pipe | 1,200 | 1 | WSR-SW1 | Breakfast Creek |
| Windsor | Pipe | 1,200 | 19 | WSR-SW2 | Breakfast Creek |
| Windsor | Pipe | 1,200 | 14 | WSR-SW3 | Breakfast Creek |
| Windsor | Pipe | 2,700 | 50 | WSR-SW4 | Breakfast Creek |
| Windsor | Pipe | 1,500 | 13 | WSR-SW5 | Breakfast Creek |
| Windsor | Pipe | 1,050 | 11 | WSR-SW6 | Breakfast Creek |
| Windsor | Pipe | 2,400 | 22 | WSR-SW7 | Breakfast Creek |
| Windsor | Pipe | 1,050 | 102 | WSR-SW8 | Breakfast Creek |
| Windsor | Pipe | 1,200 | 44 | WSR-SW9 | Breakfast Creek |
| Windsor | Pipe | 2,700 | 52 | WSR-SW10 | Breakfast Creek |
| Windsor | Pipe | 1,050 | 15 | WSR-SW11 | Breakfast Creek |
| Windsor | Pipe | 2,400 | 21 | WSR-SW12 | Breakfast Creek |
| Windsor | Pipe | 1,200 | 2 | WSR-SW13 | Breakfast Creek |
| Windsor | Pipe | 1,050 | 8 | WSR-SW14 | Breakfast Creek |
| Windsor | Pipe | 2,700 | 71 | WSR-SW15 | Breakfast Creek |
| Windsor | Pipe | 1,350 | 39 | WSR-SW16 | Breakfast Creek |
| Windsor, Albion | Pipe | 1,650 | 38 | WSR-SW17 | Breakfast Creek |
| Windsor | Pipe | 2,700 | 79 | WSR-SW18 | Breakfast Creek |
| Windsor, Albion | Pipe | 1,200 | 87 | WSR-SW19 | Breakfast Creek |
| Windsor | Pipe | 1,200 | 12 | WSR-SW20 | Breakfast Creek |
| Windsor | Pipe | 1,200 | 8 | WSR-SW21 | Breakfast Creek |
| Woolloongabba | Pipe | 1,500 | 22 | WOO-SW1 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 86 | WOO-SW2 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 34 | WOO-SW3 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 40 | WOO-SW4 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 23 | WOO-SW5 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 51 | WOO-SW6 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 68 | WOO-SW7 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 29 | WOO-SW8 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 13 | WOO-SW9 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 26 | WOO-SW10 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 17 | WOO-SW11 | Norman Creek |
| Woolloongabba | Pipe | 1,500 | 70 | WOO-SW12 | Norman Creek |
| Woolloongabba | Pipe | 1,800 | 60 | WOO-SW13 | Norman Creek |
| Woolloongabba | Pipe | 1,650 | 54 | WOO-SW14 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 19 | WOO-SW15 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 10 | WOO-SW16 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 23 | WOO-SW17 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 7 | WOO-SW18 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 26 | WOO-SW19 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 43 | WOO-SW20 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 25 | WOO-SW21 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 78 | WOO-SW22 | Norman Creek |
| Woolloongabba, East Brisbane | Pipe | 1,350 | 19 | WOO-SW23 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 32 | WOO-SW24 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 27 | WOO-SW25 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 72 | WOO-SW26 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 50 | WOO-SW27 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 16 | WOO-SW28 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 102 | WOO-SW29 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 32 | WOO-SW30 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 65 | WOO-SW31 | Norman Creek |
| Woolloongabba | Pipe | 1,800 | 10 | WOO-SW32 | Norman Creek |
| Woolloongabba | Pipe | 1,950 | 12 | WOO-SW33 | Norman Creek |
| Woolloongabba | Pipe | 1,950 | 56 | WOO-SW34 | Norman Creek |
| Woolloongabba | Pipe | 1,950 | 30 | WOO-SW35 | Norman Creek |
| Woolloongabba | Pipe | 1,950 | 12 | WOO-SW36 | Norman Creek |
| Woolloongabba | Pipe | 1,950 | 59 | WOO-SW37 | Norman Creek |
| Woolloongabba | Pipe | 1,950 | 39 | WOO-SW38 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 27 | WOO-SW39 | Norman Creek |
| Woolloongabba, East Brisbane | Pipe | 2,400 | 28 | WOO-SW40 | Norman Creek |
| Woolloongabba | Pipe | 2,400 | 18 | WOO-SW41 | Norman Creek |
| Woolloongabba | Pipe | 2,400 | 21 | WOO-SW42 | Norman Creek |
| Woolloongabba | Pipe | 2,400 | 60 | WOO-SW43 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 7 | WOO-SW44 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 25 | WOO-SW45 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 31 | WOO-SW46 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 24 | WOO-SW47 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 22 | WOO-SW48 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 11 | WOO-SW49 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 20 | WOO-SW50 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 35 | WOO-SW51 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 14 | WOO-SW52 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 14 | WOO-SW53 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 49 | WOO-SW54 | Norman Creek |
| Woolloongabba | Pipe | 1,800 | 41 | WOO-SW55 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 16 | WOO-SW56 | Norman Creek |
| Woolloongabba, East Brisbane | Pipe | 1,650 | 28 | WOO-SW57 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 25 | WOO-SW58 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 37 | WOO-SW59 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 22 | WOO-SW60 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 45 | WOO-SW61 | Norman Creek |
| Woolloongabba, Kangaroo Point | Pipe | 1,050 | 21 | WOO-SW62 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 65 | WOO-SW63 | Norman Creek |
| Woolloongabba | Pipe | 1,050 | 47 | WOO-SW64 | Norman Creek |
| Woolloongabba | Pipe | 1,800 | 54 | WOO-SW65 | Norman Creek |
| Woolloongabba | Pipe | 1,950 | 37 | WOO-SW66 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 18 | WOO-SW67 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 45 | WOO-SW68 | Norman Creek |
| Woolloongabba | Pipe | 2,100 | 71 | WOO-SW69 | Norman Creek |
| Woolloongabba | Pipe | 1,650 | 58 | WOO-SW70 | Norman Creek |
| Woolloongabba | Pipe | 1,650 | 51 | WOO-SW71 | Norman Creek |
| Woolloongabba | Pipe | 1,200 | 72 | WOO-SW72 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 67 | WOO-SW73 | Norman Creek |
| Woolloongabba | Pipe | 1,350 | 67 | WOO-SW74 | Norman Creek |
| Woolloongabba | Pipe | 1,650 | 126 | WOO-SW75 | Norman Creek |
| Wooloowin | Pipe | 1,050 | 78 | WWN-SW1 | Kedron Brook |
| Wynnum West | Culvert | 600 | 25 | WYW-SW1 | Wynnum West (b) |
| Wynnum West | Culvert | 1,200 | 18 | WYW-SW2 | Wynnum West (b) |
| Wynnum West | Culvert | 3,600 | 20 | WYW-SW3 | Bulimba Creek |
| Wynnum West | Culvert | 1,200 | 19 | WYW-SW4 | Wynnum West (b) |

10.3.3 Road network

Table 10.3.3 identifies other plans being Long term infrastructure plans (corridor plan) for the road network for development which is not assumed future urban development.

Table 10.3.3—Long term infrastructure plans (corridor plan) for the road network

| Road Name | Suburb | Road Classification |
| --- | --- | --- |
| Abbotsford Road | Albion, Bowen Hills | Arterial |
| Acacia Road | Karawatha | Suburban |
| Acanthus Street | Darra | Suburban |
| Adelaide Street | Brisbane City | Suburban |
| Agnew Street | Seven Hills, Morningside | Suburban |
| Airport Drive | Eagle Farm, Hendra, Brisbane Airport | Arterial |
| Albany Creek Road | Bridgeman Downs, Aspley | Arterial |
| Albion Overpass | Windsor, Albion | Suburban |
| Albion Road | Windsor, Albion | Suburban |
| Alderson Street | Newmarket, Alderley | District |
| Algester Road | Algester, Calamvale, Parkinson | Suburban |
| Alice Street | Brisbane City | Arterial |
| Alice Street | Brisbane City | Suburban |
| Allen Street | South Brisbane, Woolloongabba | Arterial |
| Alpinia Drive | Brisbane Airport | Arterial |
| Ann Street | Spring Hill, Brisbane City, Newstead, Fortitude Valley | Arterial |
| Ann Street | Fortitude Valley, Brisbane City | Suburban |
| Annerley Road | Fairfield, Annerley, Dutton Park, South Brisbane, Woolloongabba | Arterial |
| Anthony Street | Hamilton, Ascot | District |
| Anzac Avenue | Parkinson | Arterial |
| Appleby Road | Stafford | Arterial |
| Appleby Road | Stafford, Stafford Heights, Chermside West | Suburban |
| Archerfield Road | Inala, Richlands | Suburban |
| Arthur Terrace | Red Hill, Bardon | District |
| Ashgrove Avenue | Newmarket, Ashgrove | Suburban |
| Ashover Road | Rocklea | Suburban |
| Ashridge Road | Darra | Suburban |
| Balaclava Street | Woolloongabba | Suburban |
| Balmoral Street | Morningside, Hawthorne, Norman Park | Arterial |
| Bancroft Road | Pinkenba, Brisbane Airport | Suburban |
| Bapaume Road | Tarragindi, Holland Park West | Suburban |
| Baradine Street | Newmarket | Suburban |
| Barrett Street | Bracken Ridge | Suburban |
| Barry Parade | Fortitude Valley | Arterial |
| Barton Street | Rocklea, Archerfield | Suburban |
| Beaconsfield Terrace | Brighton | Suburban |
| Beams Road | Bridgeman Downs, Carseldine, Fitzgibbon, Taigum, Zillmere | Arterial |
| Beatty Road | Archerfield, Acacia Ridge | Suburban |
| Beaudesert Road | Drewvale, Parkinson, Archerfield, Coopers Plains, Rocklea, Moorooka, Salisbury, Acacia Ridge, Algester, Calamvale, Sunnybank Hills | Arterial |
| Beckett Road | McDowall, Bridgeman Downs | Arterial |
| Beenleigh Road | Coopers Plains, Kuraby, Runcorn, Acacia Ridge, Sunnybank, Sunnybank Hills | Arterial |
| Belmont Road | Belmont, Tingalpa | Suburban |
| Bennetts Road | Coorparoo, Camp Hill, Morningside, Norman Park | Suburban |
| Benson Street | Toowong | Arterial |
| Bicentennial Road | Boondall | Arterial |
| Birdwood Road | Holland Park West, Tarragindi | Suburban |
| Bishop Drive | Port Of Brisbane | Arterial |
| Blunder Road | Oxley, Durack, Inala, Doolandella, Pallara | Arterial |
| Board Street | Deagon | Suburban |
| Boomerang Street | Milton, Petrie Terrace, Brisbane City | Arterial |
| Boundary Road | Paddington, Bardon, Coopers Plains, Acacia Ridge | Arterial |
| Boundary Road | Fortitude Valley, Brisbane City, Coopers Plains, Sunnybank, Archerfield, Camp Hill, Coorparoo, Holland Park, Ellen Grove, Darra, Inala, Oxley, Richlands, Rocklea, Wacol | Suburban |
| Boundary Street | Fortitude Valley, Spring Hill, Brisbane City | Suburban |
| Bowen Bridge Road | Spring Hill, Bowen Hills, Herston, Windsor | Arterial |
| Bowhill Road | Durack, Willawong, Acacia Ridge | Suburban |
| Bowser Parade | Sandgate | Suburban |
| Bracken Ridge Road | Bracken Ridge | Arterial |
| Bracken Ridge Road | Bracken Ridge, Brighton, Sandgate | Suburban |
| Bracken Street | Bracken Ridge | Suburban |
| Bradfield Highway | Kangaroo Point, Fortitude Valley | Arterial |
| Bradman Street | Acacia Ridge, Sunnybank Hills | Suburban |
| Brampton Street | Inala | District |
| Braun Street | Deagon, Boondall | Arterial |
| Breakfast Creek Road | Bowen Hills, Newstead, Albion | Arterial |
| Bridge Street | Wooloowin | District |
| Bridge Street | Chelmer | Arterial |
| Bridge Street | Wooloowin | Suburban |
| Bridgeman Road | Bridgeman Downs | Arterial |
| Brighton Road | Sandgate | Suburban |
| Brighton Terrace | Brighton, Sandgate | Suburban |
| Brisbane Street | Toowong | Arterial |
| Broadwater Road | Wishart, Mansfield, Mount Gravatt, Mount Gravatt East, Upper Mount Gravatt | Suburban |
| Brookes Street | Bowen Hills, Fortitude Valley | Suburban |
| Brookfield Road | Kenmore, Brookfield, Kenmore Hills | Suburban |
| Brunswick Street | Fortitude Valley | Arterial |
| Brunswick Street | Fortitude Valley, New Farm | Suburban |
| Burrendah Road | Jindalee | Suburban |
| Burrows Street | Bowen Hills, Albion | Suburban |
| Buruda Street | Chermside | District |
| Burwood Road | Everton Park, Mitchelton | District |
| Butterfield Street | Herston | Suburban |
| Campbell Street | Bowen Hills | Arterial |
| Campbell Street | Bowen Hills | Suburban |
| Canara Street | Coorparoo, Norman Park | Suburban |
| Cannes Street | Holland Park West | District |
| Capistrano Street | Bracken Ridge | District |
| Cardiff Road | Darra | Suburban |
| Carmody Road | St Lucia | District |
| Carmody Road | St Lucia | Suburban |
| Carseldine Road | Bridgeman Downs | Arterial |
| Carselgrove Avenue | Fitzgibbon | Suburban |
| Cavendish Road | Coorparoo | Arterial |
| Cavendish Road | Coorparoo, Holland Park, Mount Gravatt East | Suburban |
| Caxton Street | Paddington, Petrie Terrace, Milton | Suburban |
| Chatsworth Road | Coorparoo, Greenslopes | Suburban |
| Chelsea Road | Gumdale, Ransome, Chandler | District |
| Childs Road | Nudgee | Suburban |
| Chiswick Road | Bardon | Suburban |
| Church Road | Bellbowrie, Moggill, Anstead | Suburban |
| Clarence Road | Indooroopilly | Suburban |
| Clendon Street | Wacol, Forest Lake | Suburban |
| College Road | Kelvin Grove, Petrie Terrace, Spring Hill, Brisbane City | Arterial |
| Compton Road | Karawatha, Kuraby, Calamvale, Runcorn, Stretton, Sunnybank Hills | Arterial |
| Cooksley Street | Hamilton, Albion | District |
| Coonan Street | Indooroopilly | Arterial |
| Cordelia Street | South Brisbane | Arterial |
| Cornwall Street | Fairfield, Dutton Park | Arterial |
| Cornwall Street | Coorparoo, Greenslopes, Woolloongabba, Annerley | Suburban |
| Coronation Drive | Milton, Auchenflower, Toowong | Arterial |
| Countess Street | Petrie Terrace, Brisbane City | Arterial |
| Creek Road | Carina, Carina Heights, Carindale, Mansfield, Mount Gravatt East, Cannon Hill, Murarrie | Arterial |
| Cribb Street | Milton | District |
| Cross Street | Belmont | Suburban |
| Crown Street | Norman Park | Suburban |
| Croydon Street | Toowong | Suburban |
| Dairy Swamp Road | Belmont | Suburban |
| Dandenong Road | Jamboree Heights, Mount Ommaney | Suburban |
| Dawson Parade | Keperra | Suburban |
| Dawson Road | Wishart, Upper Mount Gravatt | Suburban |
| Dawson Street | Wooloowin, Kalinga | District |
| Days Road | Grange | District |
| Days Road | Wilston, Grange | Suburban |
| Deagon Deviation | Sandgate, Deagon | Arterial |
| Deagon Street | Sandgate | Suburban |
| Denham Street | Bracken Ridge | Suburban |
| Depot Road | Deagon, Bracken Ridge | Arterial |
| Dianthus Street | Wakerley | Arterial |
| Dornoch Terrace | Highgate Hill, West End | District |
| Dryandra Road | Brisbane Airport | Arterial |
| Duke Street | Greenslopes, Annerley | Suburban |
| Dunsford Street | Zillmere | Suburban |
| Duporth Road | Oxley, Seventeen Mile Rocks, Darra | Suburban |
| Eagle Farm Road | Pinkenba | Arterial |
| Eagle Street | Brisbane City | Suburban |
| Earl Street | Greenslopes | Suburban |
| East Street | Fortitude Valley | Arterial |
| Edmondstone Street | Newmarket | Suburban |
| Edward Street | Spring Hill, Brisbane City | Suburban |
| Ekibin Road | Tarragindi, Annerley | Suburban |
| Elfin Street | East Brisbane | Suburban |
| Elimatta Drive | Ashgrove | Arterial |
| Elizabeth Street | Brisbane City | Arterial |
| Elizabeth Street | Brisbane City | Suburban |
| Endeavour Street | Mount Ommaney | Suburban |
| Engelfield Road | Oxley | Suburban |
| Enoggera Road | Kelvin Grove, Newmarket, Alderley | Arterial |
| Enoggera Road | NewmarketMcDowall | Suburban |
| Ermelo Road | Gumdale | Suburban |
| Esther Street | Holland Park West, Tarragindi | Suburban |
| Evans Road | Salisbury, Moorooka | Arterial |
| Fairfield Road | Dutton Park, Rocklea, Yeerongpilly, Yeronga, Fairfield | Arterial |
| Fairfield Road | YeerongpillyMcDowall | Suburban |
| Farnell Street | Chermside | District |
| Ferguson Road | Seven Hills, Camp Hill | Suburban |
| Fernberg Road | Milton, Paddington | District |
| Fig Tree Pocket Road | Fig Tree Pocket, Indooroopilly, Chapel Hill | Suburban |
| Finney Road | Indooroopilly | District |
| Ford Road | Rochedale | District |
| Ford Road | Burbank, Rochedale | Suburban |
| Forest Lake Boulevard | Forest Lake | Arterial |
| Formation Road | Ellen Grove, Wacol | Suburban |
| Formby Street | Calamvale | District |
| Foxton Street | Indooroopilly | District |
| Frederick Street | Toowong, Auchenflower | Arterial |
| Frederick Street | Toowong | Suburban |
| Freeman Road | Oxley, Durack, Inala, Richlands | District |
| Frodsham Street | Albion | Arterial |
| Fulcher Road | Ashgrove, Red Hill | District |
| Gailey Street | Toowong, St Lucia | Arterial |
| Gailey Street | Taringa, St Lucia | Suburban |
| Garden Road | Richlands | Arterial |
| Gardner Road | Rochedale, Mackenzie | Suburban |
| Gayford Street | Aspley | Suburban |
| Gaza Road | Holland Park West | Suburban |
| George Street | Brisbane City | Suburban |
| Gilbert Street | Gordon Park, Grange, Lutwyche, Windsor | District |
| Gipps Street | Fortitude Valley | Arterial |
| Given Terrace | Paddington | Suburban |
| Gladstone Road | Dutton Park, Highgate Hill, South Brisbane | Arterial |
| Glenlyon Drive | Ashgrove | District |
| Glory Street | Ashgrove | Arterial |
| Gobetween Bridge | Milton, Brisbane City, South Brisbane | Arterial |
| Gooderham Road | Willawong, Pallara | Suburban |
| Gowan Road | Stretton, Calamvale, Sunnybank Hills, Runcorn | Suburban |
| Granard Road | Rocklea, Archerfield | Arterial |
| Grandview Road | Pinjarra Hills, Pullenvale | Suburban |
| Grange Road | Stafford, Grange | Suburban |
| Green Camp Road | Wakerley, Gumdale, Ransome | Arterial |
| Greentrees Avenue | Kenmore Hills | Suburban |
| Gregory Terrace | Spring Hill, Brisbane City | Arterial |
| Gregory Terrace | Brisbane City, Fortitude Valley, Spring Hill, Bowen Hills | Suburban |
| Greive Road | Rochedale | District |
| Greive Road | Rochedale, Mackenzie | Suburban |
| Grey Street | South Brisbane, Brisbane City | Arterial |
| Gympie Arterial Road | Bald Hills | Arterial |
| Gympie Road | Bald Hills, Bridgeman Downs, Carseldine, Bald Hills, Aspley, Chermside, Kedron | Arterial |
| Gympie Road | Chermside, Aspley, Bald Hills | Suburban |
| Hale Street | Kelvin Grove, Milton, Paddington, Petrie Terrace, Red Hill | Arterial |
| Halt Street | Coopers Plains | Arterial |
| Hamilton Place | Bowen Hills | Suburban |
| Hamilton Road | Chermside, Chermside West, McDowall, Nundah, Wavell Heights | Arterial |
| Handford Road | Zillmere, Taigum | Suburban |
| Harcourt Road | Darra | District |
| Harcourt Road | Darra | Suburban |
| Hawken Drive | St Lucia | Suburban |
| Hawkesbury Road | Moggill, Anstead | Suburban |
| Hellawell Road | Sunnybank Hills | Suburban |
| Herschel Street | Brisbane City | Arterial |
| High Street | Toowong | Arterial |
| Highlands Drive | Calamvale | District |
| Holland Road | Holland Park, Holland Park West, Coorparoo | Suburban |
| Home Street | Fairfield | Arterial |
| Honour Avenue | Sherwood | District |
| Honour Avenue | Chelmer | Arterial |
| Honour Avenue | Graceville, Chelmer | Suburban |
| Hornibrook Highway | Brighton | Suburban |
| Houghton Highway | Brighton | Arterial |
| Hovea Street | Brisbane Airport | Arterial |
| Hoyland Road | Bracken Ridge, Bald Hills | Arterial |
| Hudson Road | Albion | Suburban |
| Illaweena Street | Karawatha, Calamvale, Drewvale, Stretton | Suburban |
| Illowra Street | The Gap | Suburban |
| Inala Avenue | Inala, Durack | Arterial |
| Indooroopilly Road | Taringa, St Lucia | Suburban |
| Inner City Bypass | Bowen Hills, Kelvin Grove | Arterial |
| Ipswich Road | Darra, Rocklea, Wacol | District |
| Ipswich Road | Moorooka, Woolloongabba, Annerley | Arterial |
| Ipswich Road | Woolloongabba | Arterial |
| Ipswich Road Service Road | Rocklea | Suburban |
| Ivory Street | Fortitude Valley, Brisbane City | Arterial |
| Ivory Street | Fortitude Valley, Brisbane City | Suburban |
| Jack Flynn Memorial Drive | Morningside | Suburban |
| Jackson Road | Sunnybank Hills, Sunnybank | Suburban |
| James Street | Fortitude Valley | Arterial |
| Jephson Street | Toowong | Suburban |
| Johnson Road | Forest Lake, Heathwood, Parkinson, Larapinta | Arterial |
| Jubilee Terrace | Bardon, Ashgrove | Arterial |
| Jubilee Terrace | Bardon | Suburban |
| Juliette Street | Greenslopes, Annerley | Suburban |
| Junction Road | Morningside, Cannon Hill | Arterial |
| Junction Road | Hendra, Kalinga, Wooloowin, Clayfield | Suburban |
| Junction Street | Woolloongabba, Greenslopes | Suburban |
| Kangaroo Gully Road | Anstead, Bellbowrie, Moggill | Suburban |
| Kate Street | Indooroopilly | District |
| Kedron Brook Road | Wilston, Grange | Suburban |
| Kedron Park Road | Lutwyche, Kedron, Wooloowin | Suburban |
| Kelvin Grove Road | Spring Hill, Kelvin Grove, Red Hill | Arterial |
| Kemp Place | Fortitude Valley | Arterial |
| Kenmore Road | Fig Tree Pocket | Suburban |
| Kensington Avenue | Seven Hills | Suburban |
| Kerry Road | Acacia Ridge, Archerfield | Suburban |
| Kessels Road | Nathan, Robertson, Macgregor, Coopers Plains, Salisbury, Upper Mount Gravatt | Arterial |
| Kianawah Road | Wynnum West, Hemmant | Arterial |
| King Avenue | Durack, Willawong, Acacia Ridge | Arterial |
| King Avenue | Durack | Suburban |
| Kingsford Smith Drive | Albion, Hamilton, Eagle Farm, Pinkenba | Arterial |
| Klumpp Road | Upper Mount Gravatt | Arterial |
| Lacey Road | Bald Hills, Carseldine | Suburban |
| Lake Manchester Road | Kholo, Mount Crosby | Suburban |
| Lambert Road | Indooroopilly | Suburban |
| Land Street | Toowong, Auchenflower | Suburban |
| Lanham Street | Bowen Hills | Arterial |
| Latrobe Street | East Brisbane | Suburban |
| Latrobe Terrace | Paddington | Suburban |
| Learoyd Road | Sunnybank Hills, Willawong, Acacia Ridge, Algester | Arterial |
| Leichardt Street | Spring Hill | Arterial |
| Lemke Road | Taigum, Fitzgibbon | Suburban |
| Lensworth Street | Coopers Plains | Arterial |
| Leopard Street | Woolloongabba | Arterial |
| Leopard Street | Kangaroo Point | Suburban |
| Lewisham Street | Annerley, Greenslopes | Suburban |
| Lindum Road | Lytton, Wynnum West, Hemmant | Arterial |
| Link Street | Upper Mount Gravatt | Suburban |
| Linkfield Connection Road | Bald Hills | Arterial |
| Linkfield Road | Bridgeman Downs, Carseldine, Bald Hills | Arterial |
| Links Avenue North | Eagle Farm | Arterial |
| Lisburn Street | East Brisbane | Arterial |
| Lisburn Street | East Brisbane | Suburban |
| Little Edward Street | Spring Hill | Suburban |
| Logan Road | Eight Mile Plains, Greenslopes, Holland Park, Holland Park West, Mount Gravatt, Mount Gravatt East, Upper Mount Gravatt, Woolloongabba | Arterial |
| Lomandra Drive | Brisbane Airport | Arterial |
| Long Street East | Sherwood, Graceville | Suburban |
| Lower Clifton Terrace | Red Hill | Arterial |
| Lucinda Drive | Port Of Brisbane | Arterial |
| Lutwyche Road | Kedron, Windsor, Wooloowin, Lutwyche | Arterial |
| Lutwyche Road | Windsor | Suburban |
| Lytton Road | East Brisbane, Hemmant, Lytton, Murarrie, Cannon Hill | Arterial |
| Lytton Road | Morningside, Balmoral | Suburban |
| Macgregor Street | Upper Mount Gravatt, Macgregor | District |
| Macgregor Terrace | Bardon | Arterial |
| Maclachlan Street | Fortitude Valley | Arterial |
| Macquarie Street | Teneriffe, New Farm | District |
| Macquarie Way | Drewvale | District |
| Macrossan Avenue | Norman Park | Suburban |
| Main Myrtletown Road | Brisbane Airport | Suburban |
| Main Street | Kangaroo Point, Woolloongabba | Arterial |
| Mains Road | Sunnybank, Macgregor, Mount Gravatt, Nathan, Upper Mount Gravatt | Arterial |
| Manburgh Terrace | Darra | District |
| Manly Road | Tingalpa, Manly West, Wakerley | Arterial |
| Manly Road | Manly West, Wakerley | Suburban |
| Margaret Street | Brisbane City | Arterial |
| Margaret Street | Brisbane City | Suburban |
| Markwell Street | Bowen Hills | Arterial |
| Marshall Road | Holland Park West, Tarragindi | Arterial |
| Maundrell Terrace | Aspley, Chermside West | Suburban |
| Maygar Street | Windsor | Suburban |
| Mayne Road | Bowen Hills | Suburban |
| McCullough Street | Macgregor, Sunnybank, Eight Mile Plains | Suburban |
| McGill Avenue | Ascot | District |
| McLennan Street | Wooloowin, Albion | District |
| Meadowlands Road | Carina, Carindale, Belmont | Suburban |
| Melton Road | Northgate, Nundah | District |
| Merivale Street | South Brisbane | Arterial |
| Messines Ridge Road | Holland Park West | Suburban |
| Miles Platting Road | Eight Mile Plains, Rochedale | Suburban |
| Millers Road | Eight Mile Plains, Kuraby | Suburban |
| Milton Road | Milton, Petrie Terrace, Auchenflower, Toowong | Arterial |
| Minnie Street | Upper Kedron | District |
| Miskin Street | Toowong | Suburban |
| Moggill Road | Kenmore, Chapel Hill, Pinjarra Hills, Pullenvale, Brookfield, Indooroopilly, Taringa, Toowong | Arterial |
| Moggill Road | Moggill, Bellbowrie, Pinjarra Hills | Suburban |
| Monier Road | Seventeen Mile Rocks, Darra | Suburban |
| Montague Road | South Brisbane | Arterial |
| Montague Street | Greenslopes | Arterial |
| Montpelier Road | Fortitude Valley, Bowen Hills | Arterial |
| Moreton Bay Road | Chandler | Arterial |
| Moreton Drive | Brisbane Airport | Arterial |
| Morrison Road | Clayfield | District |
| Morrow Street | Taringa | Arterial |
| Mortimer Road | Acacia Ridge | Suburban |
| Mount Coot-Tha Road | Toowong, Mount Coot-Tha | Suburban |
| Mount Cotton Road | Burbank | Arterial |
| Mount Crosby Road | Mount Crosby, Karana Downs, Anstead, Pinjarra Hills | Arterial |
| Mount Gravatt-Capalaba Road | Chandler, Burbank, Mackenzie, Mansfield, Rochedale, Upper Mount Gravatt, Wishart | Arterial |
| Mount Lindesay Highway | Parkinson | Arterial |
| Mount Nebo Road | Enoggera Reservoir, The Gap, Upper Kedron | Suburban |
| Mount Petrie Road | Belmont, Mackenzie | Suburban |
| Murphy Road | Chermside, Aspley, Geebung, Zillmere | Suburban |
| Murrell Street | Newmarket | District |
| Musgrave Road | Petrie Terrace, Red Hill, Kelvin Grove | Arterial |
| Nemies Road | Sunnybank Hills, Runcorn | District |
| New Cleveland Road | Gumdale, Chandler | Arterial |
| New Cleveland Road | Tingalpa, Wakerley, Gumdale | Suburban |
| Newman Road | Chermside, Geebung, Wavell Heights | Suburban |
| Newmarket Road | Newmarket, Wilston, Windsor | Suburban |
| Newnham Road | Mount Gravatt East, Upper Mount Gravatt, Wishart | Arterial |
| Noble Street | Fairfield | Arterial |
| Nordenfeldt Road | Morningside, Cannon Hill | Arterial |
| Norris Road | Bracken Ridge | Suburban |
| North Quay | Brisbane City | Arterial |
| North Quay | Brisbane City | Suburban |
| Nottingham Road | Calamvale, Parkinson, Algester | Suburban |
| Nudgee Road | Hamilton, Ascot, Banyo, Nudgee, Northgate, Nundah, Hendra | Arterial |
| Nudgee Road | Nudgee Beach, Nudgee | Suburban |
| Nursery Road | Holland Park, Holland Park West, Mount Gravatt | Suburban |
| O'connell Terrace | Bowen Hills | Suburban |
| O'keefe Street | Woolloongabba | Arterial |
| Old Cleveland Road | Carina, Belmont, Carindale, Chandler, Chandler, Camp Hill, Coorparoo, Greenslopes | Arterial |
| Old Northern Road | Bridgeman Downs, McDowall, Everton Park | Arterial |
| Orange Grove Road | Nathan, Salisbury, Coopers Plains | Arterial |
| Osborne Road | Everton Park, Mitchelton | Suburban |
| Outson Skyline Drive | Seven Hills | Suburban |
| Overend Street | East Brisbane | Arterial |
| Oxley Road | Chelmer, Oxley, Corinda, Graceville, Sherwood | Arterial |
| Padstow Road | Eight Mile Plains | Suburban |
| Pannard Street | Oxley, Darra | Suburban |
| Paradise Road | Larapinta, Pallara, Acacia Ridge, Willawong | Arterial |
| Park Road | Milton, Dutton Park, Woolloongabba, Yeronga | District |
| Park Road | Wooloowin, Kedron | Suburban |
| Payne Road | The Gap | Suburban |
| Peel Street | South Brisbane | Arterial |
| Persse Road | Runcorn, Kuraby | Suburban |
| Petrie Terrace | Petrie Terrace | Arterial |
| Pickering Street | Enoggera, Gaythorne | Suburban |
| Pine Mountain Road | Mansfield, Carindale, Carina Heights, Mount Gravatt East | Suburban |
| Pinelands Road | Sunnybank, Sunnybank Hills | Arterial |
| Poinsettia Street | Inala | Arterial |
| Port Drive | Lytton, Port Of Brisbane | Arterial |
| Port Of Brisbane Road | Hemmant, Murarrie | Arterial |
| Preston Road | Manly West, Manly, Wynnum West | Suburban |
| Priestdale Road | Burbank, Rochedale | Suburban |
| Prioris Road | Brisbane Airport | Suburban |
| Progress Road | Inala, Richlands | Arterial |
| Pullen Road | Everton Park | Suburban |
| Pullenvale Road | Pullenvale, Brookfield | Suburban |
| Queen Street | Brisbane City | Suburban |
| Queens Road | Everton Park  | Suburban |
| Radnor Street | Indooroopilly | District |
| Rafting Ground Road | Kenmore Hills, Brookfield | Suburban |
| Railway Parade | Darra, Rocklea, Salisbury | District |
| Rainbow Street | Sandgate | Suburban |
| Raiwena Road | Coopers Plains, Rocklea, Salisbury | Arterial |
| Raymont Road | Enoggera, Alderley, Grange | Suburban |
| Regatta Street | Chelmer | Arterial |
| Richmond Road | Carina, Morningside, Cannon Hill, Seven Hills | Suburban |
| Rickertt Road | Wakerley, Ransome | Arterial |
| Ridge Street | Greenslopes | Suburban |
| Ridgemont Street | Zillmere | Suburban |
| Ritchie Road | Pallara | Suburban |
| River Terrace | Kangaroo Point | Suburban |
| Riverina Street | Calamvale | District |
| Robinson Road East | Virginia, Geebung | Arterial |
| Robinson Road West | Aspley, Geebung | Arterial |
| Robinson Road West | Geebung | Suburban |
| Roblane Street | Windsor | Arterial |
| Rochedale Road | Rochedale | Suburban |
| Rode Road | Kedron, Chermside West, Stafford Heights, McDowall, Chermside, Nundah, Wavell Heights | Suburban |
| Roghan Road | Boondall, Bridgeman Downs, Fitzgibbon, Taigum | District |
| Roghan Road | Bridgeman Downs | Arterial |
| Roma Street | Brisbane City | Arterial |
| Roma Street | Brisbane City | Suburban |
| Rose Street | Wooloowin, Kalinga | Suburban |
| Rosemary Street | Inala | Suburban |
| Rouen Road | Bardon, Toowong | Arterial |
| Royal Esplanade | Manly | District |
| Royal Parade East | Banyo | Suburban |
| Rudd Street | Oxley, Inala | Suburban |
| Russell Avenue | Norman Park, Seven Hills | Suburban |
| Saint Paul's Terrace | Bowen Hills, Fortitude Valley, Spring Hill | Arterial |
| Samford Road | Alderley, Ferny Grove, Enoggera, Gaythorne, Keperra, Mitchelton | Arterial |
| Samuel Street | Carina Heights, Camp Hill | Suburban |
| Sandgate Road | Boondall, Albion, Ascot, Clayfield, Nundah, Virginia | Arterial |
| Sandgate Road | Albion | Suburban |
| Saul Street | Brisbane City | Arterial |
| School Road | Rochedale, Rochedale, Wynnum West, Annerley, Yeronga | District |
| Scotts Road | Darra | District |
| Scrub Road | Carindale | Suburban |
| Secombe Street | Petrie Terrace | Arterial |
| Serviceton Avenue | Inala | Suburban |
| Settlement Road | Enoggera, Keperra, The Gap | Suburban |
| Seventeen Mile Rocks Road | Jindalee, Oxley, Seventeen Mile Rocks, Sinnamon Park | Suburban |
| Sexton Road | Tarragindi | Suburban |
| Seymour Street | Sandgate | Suburban |
| Shafston Avenue | Kangaroo Point, East Brisbane | Arterial |
| Shand Street | Enoggera, Alderley, Stafford | Arterial |
| Shaw Road | Wavell Heights, Kalinga | Suburban |
| Sherbrooke Road | Willawong | Suburban |
| Sherwood Road | Rocklea, Yeerongpilly, Moorooka, Sherwood | Arterial |
| Sherwood Road | Toowong | Suburban |
| Sicklefield Road | Enoggera | Arterial |
| Simpsons Road | Bardon | Suburban |
| Sinnamon Road | Sinnamon Park, Jindalee | Suburban |
| Sir Fred Schonell | St Lucia | Arterial |
| Sir Samuel Griffith Drive | Bardon, Mount Coot-Tha, Toowong | Suburban |
| Skew Street | Brisbane City | Arterial |
| Snout Bridge | Brighton | Arterial |
| South Pine Road | Alderley, Everton Park, Enoggera | Arterial |
| South Pine Road | Everton Park, Everton Park | Suburban |
| Southerden Street | Sandgate | Suburban |
| St Vincents Road | Nudgee, Banyo, Virginia | Suburban |
| Stafford Road | Gordon Park, Kedron, Stafford, Everton Park | Arterial |
| Stanley Road | Seven Hills, Camp Hill, Carina | Suburban |
| Stanley Street | South Brisbane, Woolloongabba, East Brisbane | Arterial |
| Stanley Street East | Coorparoo, East Brisbane | Arterial |
| Stanley Street East | Coorparoo | Suburban |
| Stanworth Road | Boondall | Arterial |
| Stapylton Road | Forest Lake, Heathwood, Pallara | Arterial |
| Sterculia Avenue | Tarragindi, Holland Park West | Suburban |
| Stewart Road | Ashgrove | Arterial |
| Strathpine Road | Bald Hills | Arterial |
| Sugarmill Road | Pinkenba, Brisbane Airport | Arterial |
| Sugars Road | Bellbowrie, Anstead | Suburban |
| Sumners Road | Darra, Middle Park, Sumner, Jamboree Heights | Suburban |
| Swann Road | Taringa, St Lucia | Suburban |
| Sylvan Road | Toowong | Suburban |
| T J Doyle Memorial Park Drive | Fairfield, Dutton Park | District |
| Tarragindi Road | Salisbury, Moorooka | District |
| Telegraph Road | Fitzgibbon, Bracken Ridge | Arterial |
| Tennyson Memorial Avenue | Yeerongpilly, Tennyson | Suburban |
| Thynne Road | Morningside, Balmoral | Suburban |
| Tiber Street | Coorparoo | Suburban |
| Tile Street | Wacol | Suburban |
| Tilley Road | Chandler, Gumdale, Manly West, Tingalpa, Wakerley | Arterial |
| Toohey Road | Salisbury, Tarragindi, Nathan | Arterial |
| Toohey Road | Tarragindi | Suburban |
| Toombul Road | Virginia, Northgate | Arterial |
| Truro Street | Windsor, Lutwyche | Arterial |
| Tufnell Road | Banyo | Suburban |
| Turbot Street | Brisbane City, Spring Hill | Arterial |
| Underwood Road | Runcorn, Rochedale, Eight Mile Plains | Suburban |
| Upper Brookfield Road | Brookfield, Upper Brookfield | Suburban |
| Upper Cornwall Street | Coorparoo | Suburban |
| Upper Edward Street | Spring Hill | Suburban |
| Upper Kedron Road | Ferny Grove | Arterial |
| Upper Kedron Road | Keperra, Upper Kedron, Ferny Grove | Suburban |
| Upper Roma Street | Petrie Terrace, Brisbane City | Arterial |
| Varley Street | Yeerongpilly | Suburban |
| Venner Road | Fairfield, Annerley | Suburban |
| View Street | Annerley | Suburban |
| Villa Road | Annerley, Yeronga | District |
| Vulture Street | South Brisbane, Kangaroo Point, Woolloongabba, East Brisbane | Arterial |
| Vulture Street East | East Brisbane | Arterial |
| Wacol Station Road | Riverhills, Sumner, Wacol | Suburban |
| Wadeville Street | Pallara, Heathwood | Suburban |
| Waminda Street | Morningside | Suburban |
| Wardell Street | Enoggera, Ashgrove | Arterial |
| Warner Street | Fortitude Valley | Suburban |
| Warrigal Road | Runcorn, Eight Mile Plains | Suburban |
| Water Street | Red Hill, Fortitude Valley, Spring Hill | Suburban |
| Waterford Road | Ellen Grove, Forest Lake | Suburban |
| Waterton Street | Tarragindi, Annerley | Suburban |
| Waterworks Road | Red Hill, Ashgrove, The Gap | Arterial |
| Waterworks Road | The Gap, Enoggera Reservoir | Suburban |
| Webster Road | Aspley, Stafford, Chermside, Chermside West, Kedron, Stafford Heights | Suburban |
| Wecker Road | Mackenzie, Mansfield, Mount Gravatt East, Carindale | Suburban |
| Wellington Road | Kangaroo Point, Woolloongabba, East Brisbane | Arterial |
| Wembley Road | Karawatha | Arterial |
| Westminster Road | Indooroopilly | Suburban |
| Wharf Road | Chelmer | Arterial |
| Whites Road | Wakerley, Manly West | Suburban |
| Wickham Street | Brisbane City, Newstead, Fortitude Valley, Spring Hill | Arterial |
| Wickham Terrace | Spring Hill, Brisbane City | Arterial |
| Wiles Street | Camp Hill | Suburban |
| William Street | Brisbane City | District |
| Wilruna Street | Wacol | Suburban |
| Wilston Road | Newmarket, Grange | District |
| Winstanley Street | Carina Heights, Carindale | Suburban |
| Wondall Road | Tingalpa, Wakerley, Manly West, Wynnum West | Suburban |
| Woodstock Road | Toowong | Suburban |
| Woogaroo Street | Forest Lake, Ellen Grove | Suburban |
| Wren Street | Bowen Hills | District |
| Wren Street | Bowen Hills | Suburban |
| Wright Street | Carindale, Belmont | Suburban |
| Wyncroft Street | Holland Park, Mount Gravatt East | Suburban |
| Wynnum Road | Murarrie, Cannon Hill, East Brisbane, Hawthorne, Morningside, Norman Park, Manly West, Tingalpa, Wakerley | Arterial |
| Wynnum Road | Norman Park, Morningside, Wynnum, Wynnum West, Tingalpa | Suburban |
| Yallambee Road | Mount Ommaney, Jindalee | Suburban |
| Young Street | Annerley | Suburban |
| Zillman Road | Hendra | District |
| Zillmere Road | Geebung, Boondall, Aspley, Zillmere | Suburban |

Editor's note—For property enquiries within a road corridor listed in Table 10.3.3 contact Council via the Pre-design strategic transport and traffic advice pre-lodgement service.